- 69A-40.028 Standards of the National Fire Protection Association Adopted.

(1) Assisted living facilities shall comply with Chapters 22 or 23, of the “Life Safety Code,” NFPA 101, 1994 Edition, adopted and incorporated herein by reference, except as modified by Chapter 429, F.S.

(2)(a) When Chapters 22 and 23 of NFPA 101 Life Safety Code, 1994 edition, refer to other chapters or sections of the Code or other NFPA standards, the referenced standard shall be as stated in chapter 32, NFPA 101, Life Safety Code, 1994 edition, as is adopted and incorporated in subsection (1), above. Those standards are adopted and incorporated by reference and are as follows:

NFPA 10-1990, Standard for Portable Fire Extinguishers

NFPA 13-1994, Standard for the Installation of Sprinkler Systems

NFPA 13D-1994, Standard for the Installation of Sprinkler Systems in One- and Two-Family Dwellings and Manufactured Homes

NFPA 13R-1994, Standard for the Installation of Sprinkler Systems in Residential Occupancies up to and including Four Stories in Height

NFPA 14-1993, Standard for the Installation of Standpipe and Hose Systems

NFPA 25-1992, Standard for the Inspection, Testing, and Maintenance of Water-Based Fire Protection Systems

NFPA 30-1993, Flammable and Combustible Liquids Code

NFPA 31-1992, Standard for the Installation of Oil Burning Equipment

NFPA 40-1988, Standard for the Storage and Handling of Cellulose Nitrate Motion Picture Film

NFPA 45-1991, Standard on Fire Protection for Laboratories Using Chemicals

NFPA 54-1992, National Fuel Gas Code

NFPA 58-1992, Standard for Storage and Handling of Liquefied Petroleum Gases

NFPA 70-1993, National Electrical Code

NFPA 72-1993, National Fire Alarm Code

NFPA 80-1992, Standard for Fire Doors and Fire Windows

NFPA 82-1994, Standard on Incinerators and Waste and Linen Handling Systems and Equipment

NFPA 88A-1991, Standard for Parking Structures

NFPA 90A-1993, Standard for the Installation of Air Conditioning and Ventilating Systems

NFPA 90B-1993, Standard for the Installation of Warm Air Heating and Air Conditioning Systems

NFPA 91-1992, Standard for Exhaust Systems for Air Conveying of Materials

NFPA 96-1994, Standard for Ventilation Control and Fire Prevention of Commercial Cooking Operations

NFPA 99-1993, Standard for Health Care Facilities

NFPA 102-1992, Standard for Assembly Seating, Tents, and Membrane Structures

NFPA 110-1993, Standard for Emergency and Standby Power Systems

NFPA 111-1993, Standard on Stored Electrical Energy Emergency and Standby Power Systems

NFPA 211-1992, Standard for Chimneys, Fireplaces, Vents and Solid Fuel Burning Appliances

NFPA 220-1992, Standard on Types of Building Construction

NFPA 241-1993, Standard for Safeguarding Construction, Alteration, and Demolition Operations

NFPA 251-1990, Standard Methods of Fire Tests of Building Construction and Materials

NFPA 252-1990, Standard Methods of Fire Tests of Door Assemblies

NFPA 253-1990, Standard Methods of Test for Critical Radiant Flux of Floor Covering Systems Using a Radiant Heat Energy Source

NFPA 255-1990, Standard Method of Test of Surface Burning Characteristics of Building Materials

NFPA 256-1993, Standard Methods of Fire Tests of Roof Coverings

NFPA 257-1990, Standard for Fire Tests of Window Assemblies

NFPA 260-1994, Standard Methods of Tests and Classification Systems for Cigarette Ignition Resistance of Components of Upholstered Furniture

NFPA 261-1994, Standard Method of Test for Determining Resistance of Mock-Up Upholstered Furniture Material Assemblies to Ignition by Smoldering Cigarettes

NFPA 265-1994, Standard Methods of Fire Tests for Evaluating Room Fire Growth Contribution of Textile Wall Coverings

NFPA 701-1989, Standard Methods of Fire Tests for Flame-Resistant Textiles and Films

NFPA 703-1992, Standard for Fire Retardant Impregnated Wood and Fire Retardant Coatings for Building Materials

NFPA 1126-1992, Standard for the Use of Pyrotechnics before a Proximate Audience

(b) The codes and standards published by the National Fire Protection Association may be obtained by writing to the NFPA at: 1 Batterymarch Park, Quincy, Massachusetts 02269. All standards incorporated by reference in this rule are also available for public inspection during regular business hours at the Division of Fire Marshal, Larson Building, 200 East Gaines Street, Tallahassee, Florida.

(3) The Evacuation Capability Evaluation shall be in accordance with chapter 5, NFPA 101A, Guide on Alternative Approaches to Life Safety, 1995 edition, which is adopted and incorporated herein by reference.

Rulemaking Authority 633.104, 633.206 FS. Law Implemented 429.11, 429.41, 633.206 FS. History–New 11-29-89, Amended 1-7-97, Formerly 4A-40.028.