- 69A-41.016 Furnishings and Decorations.

(1) All residential child care facilities in which security is required shall use only mattresses having a fire retardant cotton core with a retardant outer cover.

(2) Polyurethane mattresses are prohibited in all residential child care facilities.

Rulemaking Authority 633.104 FS. Law Implemented 633.104(1), 633.206(1)(b) FS. History–New 7-2-84, Formerly 4A-41.16, Amended 9-24-90, 7-11-01, Formerly 4A-41.016.