- 69A-41.019 Alarm and Detection Requirements.

(1) Smoke Detectors installed in existing residential child care facilities having 16 or fewer residents may continue to be battery powered, single station, UL217 detectors.

(2) Fire Alarms installed in existing residential child care facilities with 16 or fewer residents may continue to be manually operated, powered by the building electrical service, but it is not required to be electrically supervised.

Rulemaking Authority 633.104 FS. Law Implemented 633.104(1), 633.206(1)(b) FS. History–New 7-2-84, Formerly 4A-41.19, Amended 9-24-90, 7-11-01, Formerly 4A-41.019.