- 69A-41.108 Special Requirements.

(1) Each facility shall have installed at least one portable fire extinguisher with a minimum rating of 2A-10BC.

(2) No unvented fuel-fired heaters shall be permitted unless the heater is listed and approved for such use.

Rulemaking Authority 633.104(1) FS. Law Implemented 633.206(1)(b) FS. History–New 9-17-03, Formerly 4A-41.108.