69A-42.004 Discretionary Powers of the Authority Having Jurisdiction.

The authority having jurisdiction may modify these rules under the following conditions:

(1) Any modification of these rules shall be allowed only in existing buildings and to the extent that, in the opinion of the authority having jurisdiction, it is clearly evident that a reasonable degree of safety to life and property from the hazards of fire, explosion, and panic is provided and maintained under the modification.

(2) The authority having jurisdiction may allow alternative arrangements to accomplish this degree of safety, but in no case shall the modification afford less safety to life than compliance with the corresponding provisions contained in these rules for existing buildings.

(3) Nothing in these rules is intended to prevent the use of systems, methods, or devices of equivalent or superior quality, strength, fire resistance, effectiveness, durability, and safety to those prescribed by the authority having jurisdiction so long as the system, method, or device is of demonstrated equivalency and is approved for the intended purpose.

Specific Authority 633.01 FS. Law Implemented 633.01, 633.022 FS. History–New 5-1-84, Formerly 4A-42.04, Repromulgated 8-1-90, Formerly 4A-42.004.