- 69A-47.011 Adoption of the Florida Elevator Safety Code.

(1) The following shall be in compliance with those standards adopted in Chapter 61C-5, F.A.C., Florida Elevator Safety Code, which is hereby adopted and incorporated by reference:

(a) Enclosures of elevator hoistways, machine rooms, and machine spaces;

(b) Automatic smoke detectors and heat detectors; and

(c) Automatic sprinklers in hydraulic and non-hydraulic elevators.

(2) Chapter 61C-5, F.A.C., Florida Elevator Safety Code may be obtained by writing to the Department of Financial Services, Division of State Fire Marshal, Bureau of Fire Prevention, 200 East Gaines Street, Tallahassee, Florida 32399-0342.

Rulemaking Authority 633.104 FS. Law Implemented 633.104, 633.206 FS. History–New 8-16-01, Formerly 4A-47.011.