69A-47.013 Regional Access.

Regional emergency elevator access shall be provided for each elevator that allows public access including, but not limited to, public elevators, service elevators, and freight elevators, in each of the following buildings in this state.

(1) Each building which is six or more stories in height, including, but not limited to, hotels and condominiums, on which construction is begun after June 30, 2004.

(2) Any building in this state which is six or more stories in height that has undergone “substantial improvement” as defined in Section 161.54(12), F.S. (2005).

Specific Authority 399.15 FS. Law Implemented 399.15 FS. History–New 6-6-06.