69A-48.008 Monitoring.

(1) Automatic emergency forces notification and any type of monitoring of fire alarm signals shall be installed and operate in accordance with the applicable NFPA standards adopted in subsection 69A-3.012(1), F.A.C., and incorporated by reference therein.

(2) Any company wishing to do monitoring or is currently monitoring in a fire department’s area shall notify the authority having jurisdiction of that location. The authority having jurisdiction shall be notified when any monitoring is discontinued within 24 hours and follow-up that notification by written notification.

Specific Authority 633.70(4), 633.701(7) FS. Law Implemented 633.01(1), 633.022(2)(b), 633.70(4), 633.701(7) FS. History–New 11-16-94, Amended 7-11-01, Formerly 4A-48.008.