- 69A-49.002 Purpose.

(1) The purpose of this rule chapter is to establish uniform requirements to provide a reasonable degree of safety from fire in buildings, structures or premises used as self-service gasoline stations.

(2) These rules try to avoid requirements which might result in unreasonable hardships, or unnecessary inconveniences or interference with the normal use and occupancy of self-service gasoline stations, but at the same time insist upon compliance with uniform standards for fire safety consistent with the public interest.

Rulemaking Authority 526.141(8), 633.104 FS. Law Implemented 526.141(8), 633.104, 633.206 FS. History–New 8-1-90, Formerly 4A-49.002.