- 69A-49.003 Fire Protection Standards Adopted.

(1) Self-service gasoline stations shall comply with the fire safety requirements of the National Fire Protection Association standards as adopted in rule 69A-3.012, F.A.C., except as modified by section 526.141, F.S.

(2) Additional applicable fire protection standards specifically referenced in Chapter 6, NFPA 30, the edition as adopted in rule 69A-3.012, F.A.C., Chapter 9, NFPA 30A, the edition as adopted in rule 69A-3.012, F.A.C., and Chapter 28-2, NFPA 1, the edition as adopted in rule 69A-3.012, F.A.C., which are applicable to self-service gasoline stations and the edition of such standards listed in rule 69A-3.012, F.A.C., shall apply.

(3) Buildings or structures which are constructed to complement other operations associated with self-service gasoline stations shall comply with the applicable requirements of NFPA 101, Life Safety Code, as adopted in rule 69A-3.012, F.A.C.

(4) All self-service gasoline stations shall be operated in accordance with section 526.141, F.S.

Rulemaking Authority 526.141(8), 633.104, 633.206(1)(b) FS. Law Implemented 526.141(8), 633.104, 633.206 FS. History–New 8-1-90, Amended 10-11-01, Formerly 4A-49.003.