69A-52.003 Application.

The State Legislature mandates that the State Fire Marshal shall perform the following functions for which fees shall be charged:

(1) Inspect each state-owned building on a recurring basis, as defined in Rule 69A-3.009, F.A.C., and inspect high hazard state owned occupancies at least annually for compliance with applicable fire safety standards for state-owned buildings.

(2) Perform tests on all components of any electronic fire warning system, smoke detection system and any pressurized air handling unit.

(3) Inspect any new, renovated, alteration or change of occupancy of any existing state-owned or state-leased building.

(4) Review plans for all new construction, renovation, alteration, or change of occupancy of any existing state-owned or state-leased building.

Specific Authority 633.01, 633.085(5) FS. Law Implemented 633.01(1), 633.085 FS. History–New 6-18-91, Amended 9-6-01, Formerly 4A-52.003.