- 69A-52.004 Fees.

(1) Review of plans for all new construction, renovations, alterations, or changes of occupancy.

(a)1. The plans review fee for all new construction, renovations, alterations, or changes of occupancy for state-owned and state-leased buildings shall be computed by multiplying the estimated cost of construction by .0025.

2. If no construction cost is involved in a change of occupancy, the plans review fee will be calculated at the rate of $.02 per square foot of newly occupied space.

3. The minimum fee for each plan review is $100 per building.

(b)1. The plans review fees set forth in paragraph (1)(a) of this rule, includes 3 inspections or site visits.

a. When applicable, one mandatory site visit to observe the inspection on the underground fire protection main. This site visit is to occur prior to cover-up; and,

b. One optional inspection, conducted at the discretion of the State Fire Marshal’s Plans Review Section or Firesafety Inspection, to occur prior to close-in of the building. In considering whether to conduct an optional inspection, the section shall apply the following:

(I) The complexity of construction.

(II) Whether a fire alarm system has been installed.

(III) Whether a sprinkler system has been installed.

(IV) Whether other required fire protection systems have been installed; and,

c. One mandatory inspection to occur prior to occupancy of the building.

2. The State Fire Marshal or his designee shall be the final authority as to when the building meets firesafety standards for occupancy.

(c) Additional inspections required as a result of code violations found during the final inspection shall be billed at the rate of $65 per hour, per inspector (portal to portal), plus expenses.

(d) Plans review fees shall be paid in full by the lessor, design professional, or state agency before the review process begins. All plans review fees are payable to “Department of Financial Services.”

(2) Firesafety inspections on existing buildings.

(a) The fee for recurring or annual firesafety inspections for state-owned buildings is computed by multiplying the value of the building, as reported by the Division of Risk Management for coverage in the state’s property self-insurance program, by .0002.

This fee includes any additional inspection or inspections that may be necessary to help ensure compliance with the fire prevention code. The minimum fee for each inspection is $100 per building.

(b)1. The Division of State Fire Marshal shall bill annual fire inspection fees by September 1 of each year.

2. The bill for inspection fees sent to a state agency will cover fees for all space owned by that agency.

3. These fees may be paid in equal installments on September 1, December 1, March 1, and June 1 of each fiscal year.

4. All firesafety inspection fees are payable to “Department of Financial Services”.

Rulemaking Authority 633.104, 633.218(5) FS. Law Implemented 633.104(1), 633.218(5) FS. History–New 6-18-91, Amended 10-20-93, 9-6-01, Formerly 4A-52.004.