- 69A-53.004 Standards of the National Fire Protection Association Adopted.

The standards of the National Fire Protection Association for life safety from fire, as provided in NFPA 101, Life Safety Code, as adopted in rule 69A-3.012, F.A.C., and incorporated herein by reference shall be the Uniform Fire Safety Standards for Hospitals and Nursing Homes.

Rulemaking Authority 633.104 FS. Law Implemented 633.104, 633.206 FS. History–New 10-8-90, Formerly 4A-53.004.