69A-58.004 Firesafety Inspections.

(1) There shall be two annual inspections of educational facilities, ancillary plants, and auxiliary facilities, as follows:

(a) Pursuant to Section 1013.12(1)(b), F.S., firesafety inspections of each building of each educational plant and each ancillary plant shall be made annually by a person certified by the division to conduct firesafety inspections of educational and ancillary plants pursuant to Section 633.081(3), F.S., which may be an employee of the board.

(b) Pursuant to Section 1013.12(2)(b), F.S., each county, municipality, or special district having firesafety responsibilities shall, by and through a local firesafety inspector certified pursuant to Section 633.081(2), F.S., conduct at least one firesafety inspection of each building of each educational plant and each ancillary plant, whether owned or leased, each calendar year to determine compliance with this rule chapter.

(2) The inspections in subsection (1):

(a) Are applicable to all buildings owned, leased, or being lease-purchased by the board, including all permanent and relocatable buildings;

(b) Shall begin not sooner than one year after a new building has been occupied;

(c) Shall be performed in accordance with any applicable code or standard, such as NFPA 101, the edition as adopted in Rule 69A-3.012, F.A.C., or any other applicable code or standard which has been adopted in this rule chapter; and

(d) Are not applicable to new construction or new buildings. New construction and new buildings are subject to and controlled by Section 1013.38, F.S.

(3) Reports of the inspections in subsection (1) shall be filed with the local school board and the local site administrator.

(4) A plan and schedule for correction of any deficiency in the inspection report shall be developed by any firesafety inspector finding a deficiency in conjunction with the board and shall be adopted and complied with by the board.

(5) Each inspection report and plan of correction shall contain, at a minimum, the following information:

(a) The name of the school district or community college;

(b) The name of the local authority having jurisdiction (i.e., municipality, county, or special district);

(c) The name of the facility inspected;

(d) The type of facility inspected (i.e., K-5, 6-9, 10-12, CC, other);

(e) The facility address;

(f) The number of the facility as listed in the florida inventory of school houses (FISH #);

(g) The name, address, and phone number of each inspector, and the designation of whether such inspector is a special firesafety inspector or a municipal firesafety inspector;

(h) The date of the inspection;

(i) Each violation or deficiency noted during the inspection. each violation or deficiency report shall contain:

1. The building name or number and, if applicable, the room number of the building in which the violation was noted;

2. A description of the violation or deficiency;

3. The number of times this violation or deficiency has been cited, if applicable;

4. The estimated correction date;

5. The total number of violations or deficiencies cited not involving serious life safety hazards;

6. The total number of violations or deficiencies cited involving serious life safety hazards;

7. The date of the scheduled reinspection;

8. A statement that the district has or has not complied with Section 1013.12(1)(c), F.S.;

9. A statement that the local authority having jurisdiction has or has not complied with Section 1013.12(2)c), F.S.;

10. Verification that the required fire drills have been completed; and

11. The signature of the district inspector if the inspection was made by the special inspector, or the signature of the local fire official if the inspection was made by the local fire official. if the inspection was made by both the special firesafety inspector and the local fire official, each one must sign.

(6) When the violation or deficiency has been corrected, the board sending the report required by paragraph (i) shall notify the division of such correction.

(7) The inspection reports in subsection (1) together with the plan and schedule for correction of any deficiency shall be submitted to the division by June 30, of each year.

Specific Authority 1013.12 FS. Law Implemented 1013.12 FS. History–New 2-18-03, Formerly 4A-58.004.