69A-58.006 Inspections in General.

(1) Each building inspected shall be accounted for on the inspection report.

(2) The board shall forward one copy of the completed inspection report to the division and retain one copy for its files.

(3) The board shall maintain with each yearly inspection report a list of corrected deficiencies from the prior fiscal year report.

(4) Remodeling and Renovation shall be performed in accordance with the requirements of the Florida Building Code Section 423.

(5) Returning Buildings to Use. Any existing building which has been removed from instructional use for more than 180 days shall be inspected for deficiencies, and remodeled, renovated, or have its deficiencies corrected in accordance with the new construction requirements of the Florida Building Code before returning it to instructional purposes.

(6) Abandoned Buildings. Board buildings no longer in use and abandoned shall be free of combustible waste and secured in such a manner as to prevent safety hazards, unlawful entry, and undue vandalism from occurring.

Specific Authority 1013.12 FS. Law Implemented 1013.12 FS. History–New 2-18-03, Formerly 4A-58.006.