69A-58.010 Other Applicable Codes and Standards.

Except as otherwise provided in this rule chapter, the codes and standards adopted in Rules 69A-60.003, 69A-60.004 and 69A-60.005, F.A.C., which are not in conflict with any provision of this rule chapter are applicable to all buildings and structures to which this rule chapter is applicable.

Rulemaking Authority 633.104(1), (7), 1013.12(1) FS. Law Implemented 633.104(7), 633.206, 633.208, 1013.12, 1013.371, 1013.38 FS. History–New 2-18-03, Formerly 4A-58.010.