69A-60.003 Standards of the National Fire Protection Association, NFPA 1, the Uniform Fire Code, Florida 2003 Edition, Adopted.

(1) NFPA 1, the Uniform Fire Code, Florida 2003 edition, is hereby adopted and incorporated herein by reference and shall take effect on the effective date of this rule as a part of the Florida Fire Prevention Code.

(2)(a) NFPA 1, Florida 2003 edition may be purchased by writing to the NFPA at 1 Batterymarch Park, Quincy, Massachusetts 02269-9101.

(b) All codes, standards, publications, and authorities adopted and incorporated by reference in this rule chapter are also available for public inspection during regular business hours at the Bureau of Fire Prevention, Division of State Fire Marshal, Department of Financial Services, 325 John Knox Road, The Atrium, Third Floor, Tallahassee, Florida 32303 and may be accessed in a read-only, non-printable, non-downloadable format at the Division of State Fire Marshal website whose address is http://www.fldfs.com/SFM/.

(c) NFPA 1, Florida 2003 edition, may also be purchased at the Bureau of Fire Standards and Training, Division of State Fire Marshal, 11655 Northwest Gainesville Road, Ocala, Florida 34482.

Specific Authority 633.01, 633.0215, 633.025 FS. Law Implemented 633.01, 633.0215, 633.025 FS. History–New 11-15-01, Formerly 4A-60.003, Amended 11-28-04.