Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Division of Hotels and Restaurants

RULE NO.:	RULE TITLE:

61C-5.001	Safety Standards

The Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety hereby gives notice: On February 10, 2023, the Division issued an order. The Final Order was in response to a Petition for an emergency temporary Variance from Naples Senior Center at JFCS Inc, filed December 14, 2022, and advertised on December 16, 2022, in Vol. 48, No. 243, of the Florida Administrative Register. No comments were received in response to the petition. The Final Order on the Petition for Variance grants the Petitioner a variance from Rule 2.7.3.2.1, ASME A17.1, 2016 edition, as adopted by Rule 61C-5.001 Florida Administrative Code that requires a stairway with a swinging door and platform at the top level to be provided from the top floor of the building to the roof level because the Petitioner has demonstrated that the purpose of the underlying statute has been met and that the Petitioner would suffer a substantial hardship if required to comply with this rule (VW2022-137).

A copy of the Order or additional information may be obtained by contacting: Division of Hotels and Restaurants, Bureau of Elevator Safety, 2601 Blair Stone Road, Tallahassee, Florida 32399-1013, dhr.elevators@myfloridalicense.com.