- 40B-3.504 Location.

Wells shall be located so as not to pose a threat of contamination to the groundwater resource. Minimum spacing between wells and sanitary hazards shall be as set forth in Table 1 of Chapter 62-532, F.A.C., (February 16, 2012), which is incorporated by reference in subsection 40B-3.035(3), F.A.C. Wells shall not be located on lands below the 100-year flood elevation of the Suwannee, Alapaha, Withlacoochee, Santa Fe, and Aucilla Rivers when an alternative to such location exists on the property.

Rulemaking Authority 373.044, 373.171, 373.309 FS. Law Implemented 373.306, 373.308, 373.309, 373.113 FS. History–New 7-1-85, Amended 4-4-91, 6-22-99, 4-17-23.