69H-3.003 Physical Security of Exhibition Facilities.

Every applicant shall provide sufficient information in Part II of an Application for Indemnification to satisfactorily show that:

(1) Physical structures of the applicant’s exhibition facilities are constructed of suitable fire-resistive materials.

(2) Applicant’s exhibition facilities are located in a community having a full time, professionally trained law enforcement agency.

(3) Physical access of the public into and from the gallery, storage, packing and loading areas of the applicant’s exhibition facilities, is limited during periods of receiving, unpacking, storing, showing, or repacking eligible items.

(4) The applicant’s exhibition facilities are protected by a trained, uniformed security guard force in sufficient number to:

(a) Provide entrance and exit control during hours of operation.

(b) Maintain a guest register; tally and issue passes.

(c) Check packages, luggage, purses, etc., of employees and visitors.

(d) Respond to emergencies.

(e) Inspect all exhibits at the beginning and end of each shift.

(f) Maintain a night watch with rounds.

(g) Search premises at closing time, lock doors, and activate and monitor alarms.

(h) Maintain a key and lock register.

(i) Maintain a line of vision with all objects on display during all hours facilities are open.

(5) Facilities are equipped with an automatic electronic surveillance system that:

(a) Detects and reports any smoke or heat buildup immediately to the local fire department.

(b) Detects any unauthorized intrusion, by means of motion detectors, electric door locks or other appropriate devices, and reports such information immediately to the local police department.

(c) Detects and reports touching and/or removal of eligible items on display immediately to the local police department.

(d) Monitors heating, cooling and other mechanical equipment.

(e) Is self-policing (having the ability to detect and report any tampering with the detection devices or any part thereof).

(f) Provides closed circuit television monitoring of all eligible items.

(g) Has a backup emergency power system.

(h) Has a control panel, located in a protected area, manned by trained operators 24 hours a day.

(6) Trained professional uniformed security guards may be an acceptable alternate to installation of an automatic electronic surveillance system upon a satisfactory showing to the Department of Financial Services that an equivalent level of physical security will be provided.

(7) All eligible items are displayed in such a manner as to prevent touching by the public, and all small or fragile items are displayed inside locked cases.

Specific Authority 265.53(2) FS. Law Implemented 265.53(2)(a) FS. History–New 8-11-83, Formerly 4-55.03, 4-55.003, 4H-3.003.