- 61G15-32.005 Design of Gas Agent Fire Suppression Systems.

(1) Gas Agent Fire Suppression Systems include CO2, Halon, inerting and purge gases, and all other gaseous formulations and multi-phase agents released for the purpose of fire control or extinguishment.

(2) The Fire Protection System(s) design specifications shall be based on applicable NFPA standards when available, or alternative engineering sources and good engineering practice.

Rulemaking Authority 471.008, 471.033(2) FS. Law Implemented 471.033 FS. History–New 5-19-93, Formerly 21H-32.005, Amended 5-22-23.