- 61G15-32.006 Design of Foam and Foam Water Fire Suppression Systems.

(1) Foam and Foam Water Fire Suppression Systems include local application, total flooding, high and low expansion foams, and foam-water sprinkler systems.

(2) The Fire Protection System design specifications shall be based on applicable NFPA standards, when available, or alternative engineering sources and good engineering practice.

Rulemaking Authority 471.008, 471.033(2) FS. Law Implemented 471.033 FS. History–New 5-19-93, Formerly 21H-32.006, Amended 5-22-23.