## 61G15-32.007 Design of Dry Chemical and Miscellaneous Fire Suppression or Control Systems.

(1) Dry chemical and miscellaneous systems include dry chemical systems, explosion control systems, and fire control structures.

(2) The Fire Protection System design specifications shall be based on applicable NFPA standards, when available, or alternative engineering sources and good engineering practice.

Rulemaking Authority 471.008, 471.033(2) FS. Law Implemented 471.033 FS. History–New 5-19-93, Formerly 21H-32.007, Amended 6-29-23.