Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

NOTICE IS HEREBY GIVEN that on August 25, 2023, the Department of Business and Professional Regulation, Division of Hotels and Restaurants, received a petition for Britannia at Forest Glen BLDG #2 at 3940 Loblolly Bay Dr., Naples, FL 34114. Petitioner seeks an emergency temporary variance of the requirements of ASME A17.3, 2015 edition, Section 3.10.12, as adopted by 61C-5.001, Florida Administrative Code that requires a system to monitor and prevent automatic operation of the elevator with faulty door contact circuits, which poses a significant economic/financial hardship. Any interested person may file comments within 5 days of the publication of this notice with Division of Hotels and Restaurants, Bureau of Elevator Safety, 2601 Blair Stone Road, Tallahassee, Florida 32399-1013 (VW2023-090).

A copy of the Petition for Variance or Waiver may be obtained by contacting: Division of Hotels and Restaurants, Bureau of Elevator Safety, 2601 Blair Stone Road, Tallahassee, Florida 32399-1013. dhr.elevators@myfloridalicense.com.