Notice of Declaratory Statement

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Florida Building Commission

RULE NO.:	RULE TITLE:

61G20-1.001	Florida Building Code Adopted

NOTICE IS HEREBY GIVEN that the Florida Building Commission has issued an order disposing of the petition for declaratory statement filed by Rizzo Self Storage of Alachua, LLC on May 24, 2023. The following is a summary of the agency's disposition of the petition:

Petitioner requested an answer to the following question, based upon the project described within its petition: Are employee or public toilet facilities required for a self-storage facility with no attending employees and access restricted to only those renting storage units? On August 15, 2023, the Commission provided the following answer: yes. The intended operation of the proposed self-storage facility does not meet the provisions of the second exception found in section [P] 2902.3, Florida Building Code, Building, 7th Edition (2020), which is limited in scope to structures and tenant spaces intended for quick transactions and having an access area less than or equal to 300 square feet.

A copy of the Order Disposing of the Petition for Declaratory Statement may be obtained by contacting: Agency Clerk’s Office, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)921-0342, AGC.Filing@myfloridalicense.com.