Notice of Variances and Waivers

DEPARTMENT OF ENVIRONMENTAL PROTECTION

RULE NO.:	RULE TITLE:

62-762.502	System Requirements for Field Erected Storage Tanks

NOTICE IS HEREBY GIVEN that on September 13, 2023, the Department of Environmental Protection, received a petition for variance pursuant to Section 120.542, F.S. from Marathon Petroleum Company LP. The petitioner did not cite a specific rule for which a variance was requested, but the Department of Environmental Protection believes the request is for a variance from paragraph 62-762.502(1)(b), F.A.C., which creates requirements for secondary containment for system components of field-erected aboveground storage tanks (ASTs). The petitioner requests a variance to allow for an alternative approach at three terminal facilities, using concrete pavers and continual visual monitoring in lieu of impervious secondary containment for release prevention. Facility locations are: 425 South 20th Street, Tampa, FL, 33605; 904 SE 24th Street, Ft. Lauderdale, FL 33316; and 1601 SE 20th Street, Ft. Lauderdale, FL 33316. The petition has been assigned OGC #23-1730.

A copy of the Petition for Variance or Waiver may be obtained by contacting: Amanda Dorsett, Florida Department of Environmental Protection, 2600 Blair Stone Road, Mail Station 4550, Tallahassee, FL 32399-2400; telephone (850)245-8931, email Amanda.Dorsett@FloridaDEP.gov, during normal business hours, 8:00 a.m. – 5:00 p.m., Monday through Friday, except legal holidays. If you have any questions, please call the Division of Waste Management at (850)245-8705.

Written comments must be received by the Department of Environmental Protection no later than 14 days from the date of publication of this notice.