- 69A-60.005 Publications Referenced in NFPA 1, the Florida 2021 Edition, and NFPA 101, the Florida 2021 Edition, Added to the Florida Fire Prevention Code.

(1) For purposes of this rule chapter, the following definitions apply:

(a) ANSI means the American National Standards Institute.

(b) ASME means the American Society of Mechanical Engineers.

(c) ASTM means the American Society for Testing and Materials.

(d) BHMA means the Builders Hardware Manufacturers Association.

(e) ICC means the International Code Counsel, American National Standard Accessible and Usable Buildings and Facilities.

(f) UL means Underwriters Laboratories, Inc.

(2) The following publications are hereby adopted and incorporated by reference herein and added to the Florida Fire Prevention Code and shall take effect on the effective date of this rule:

(a) NFPA 2, 2020 edition, Hydrogen Technologies Code.

(b) NFPA 4, 2021 edition, Standard for Integrated Fire Protection and Life Safety System Testing.

(c) NFPA 10, 2018 edition, Standard for Portable Fire Extinguishers.

(d) NFPA 11, 2016 edition, Standard for Low-, Medium- and High-Expansion Foam.

(e) NFPA 12, 2018 edition, Standard on Carbon Dioxide Extinguishing Systems.

(f) NFPA 12A, 2018 edition, Standard on Halon 1301 Fire Extinguishing Systems.

(g) NFPA 13, 2019 edition, Standard for the Installation of Sprinkler Systems.

(h) NFPA 13D, 2019 edition, Standard for the Installation of Sprinkler Systems in One- and Two- Family Dwellings and Manufactured Homes.

(i) NFPA 13R, 2019 edition, Standard for the Installation of Sprinkler Systems in Low-Rise Residential Occupancies.

(j) NFPA 14, 2019 edition, Standard for the Installation of Standpipe, and Hose Systems.

(k) NFPA 15, 2017 edition, Standard for Water Spray Fixed Systems for Fire Protection.

(l) NFPA 16, 2019 edition, Standard for the Installation of Foam-Water Sprinkler and Foam-Water Spray Systems.

(m) NFPA 17, 2021 edition, Standard for Dry Chemical Extinguishing Systems.

(n) NFPA 17A, 2021 edition, Standard for Wet Chemical Extinguishing Systems.

(o) NFPA 20, 2019 edition, Standard for the Installation of Stationary Pumps for Fire Protection.

(p) NFPA 22, 2018 edition, Standard for Water Tanks for Private Fire Protection.

(q) NFPA 24, 2019 edition, Standard for the Installation of Private Fire Service Mains and Their Appurtenances.

(r) NFPA 25, 2020 edition, Standard for the Inspection, Testing, and Maintenance of Water-Based Fire Protection Systems.

(s) NFPA 30, 2021 edition, Flammable and Combustible Liquids Code.

(t) NFPA 30A, 2021 edition, Code for Motor Fuel Dispensing Facilities and Repair Garages.

(u) NFPA 30B, 2019 edition, Code for the Manufacture and Storage of Aerosol Products.

(v) NFPA 31, 2020 edition, Standard for the Installation of Oil-Burning Equipment.

(w) NFPA 32, 2016 edition, Standard for Drycleaning Facilities.

(x) NFPA 33, 2018 edition, Standard for Spray Application Using Flammable or Combustible Materials.

(y) NFPA 34, 2018 edition, Standard for Dipping, Coating, and Printing Processes Using Flammable or Combustible Liquids.

(z) NFPA 35, 2016 edition, Standard for the Manufacture of Organic Coatings.

(aa) NFPA 36, 2017 edition, Standard for Solvent Extraction Plants.

(bb) NFPA 37, 2021 edition, Standard for the Installation and Use of Stationary Combustion Engines and Gas Turbines.

(cc) NFPA 40, 2019 edition, Standard for the Storage and Handling of Cellulose Nitrate Film.

(dd) NFPA 45, 2019 edition, Standard on Fire Protection for Laboratories Using Chemicals.

(ee) NFPA 51, 2018 edition, Standard for the Design and Installation of Oxygen-Fuel Gas Systems for Welding, Cutting and Allied Processes.

(ff) NFPA 51B, 2019 edition, Standard for Fire Prevention During Welding, Cutting and Other Hot Work.

(gg) NFPA 52, 2019 edition, Vehicular Natural Gas Fuel Systems Code.

(hh) NFPA 54, 2021 edition, National Fuel Gas Code.

(ii) NFPA 55, 2020 edition, Compressed Gases and Cryogenic Fluids Code.

(jj) NFPA 56, 2020 edition, Standard for Fire and Explosion Prevention During Cleaning and Purging of Flammable Gas Piping Systems.

(kk) NFPA 58, 2020 edition, Liquefied Petroleum Gas Code.

(ll) NFPA 59, 2021 edition, Utility LP-Gas Plant Code.

(mm) NFPA 59A, 2019 edition, Standard for the Production, Storage, and Handling of Liquefied Natural Gas (LNG).

(nn) NFPA 61, 2020 edition, Standard for the Prevention of Fires and Dust Explosions in Agricultural and Food Processing Facilities.

(oo) NFPA 68, 2018 edition, Standard on Explosion Protection by Deflagration Venting.

(pp) NFPA 69, 2019 edition, Standard on Explosion Prevention Systems.

(qq) NFPA 70, 2020 edition, National Electrical Code®.

(rr) NFPA 72, 2019 edition, National Fire Alarm and Signaling Code.

(ss) NFPA 75, 2020 edition, Standard for the Fire Protection of Information Technology Equipment.

(tt) NFPA 76, 2020 edition, Standard for the Fire Protection of Telecommunications Facilities.

(uu) NFPA 80, 2019 edition, Standard for Fire Doors and Other Opening Protectives.

(vv) NFPA 82, 2019 edition, Standard on Incinerators and Waste and Linen Handling Systems and Equipment.

(ww) NFPA 85, 2019 edition, Boiler and Combustion Systems Hazards Code.

(xx) NFPA 86, 2019 edition, Standard for Ovens and Furnaces.

(yy) NFPA 88A, 2019 edition, Standard for Parking Structures.

(zz) NFPA 90A, 2021 edition, Standard for the Installation of Air-Conditioning and Ventilating Systems.

(aaa) NFPA 90B, 2021 edition, Standard for the Installation of Warm Air Heating and Air-Conditioning Systems.

(bbb) NFPA 91, 2020 edition, Standard for Exhaust Systems for Air Conveying of Vapors, Gases, Mists, and Particulate Solids.

(ccc) NFPA 92, 2018 edition, Standard for Smoke-Control Systems.

(ddd) NFPA 96, 2021 edition, Standard for Ventilation Control and Fire Protection of Commercial Cooking Operations.

(eee) NFPA 99, 2021 edition, Health Care Facilities Code.

(fff) NFPA 99B, 2021 edition, Standard for Hypobaric Facilities.

(ggg) NFPA 101, 2021 edition, Life Safety Code®.

(hhh) NFPA 101A, 2019 edition, Guide on Alternative Approaches to Life Safety.

(iii) NFPA 102, 2016 edition, Standard for Grandstands, Folding and Telescopic Seating, Tents and Membrane Structures.

(jjj) NFPA 105, 2019 edition, Standard for Smoke Door Assemblies and Other Opening Protectives.

(kkk) NFPA 110, 2019 edition, Standard for Emergency and Standby Power Systems.

(lll) NFPA 111, 2019 edition, Standard on Stored Electrical Energy Emergency and Standby Power Systems.

(mmm) NFPA 115, 2020 edition, Standard for Laser Fire Protection.

(nnn) NFPA 120, 2020 edition, Standard for Fire Prevention and Control in Coal Mines.

(ooo) NFPA 122, 2020 edition, Standard for Fire Prevention and Control in Metal/Nonmetal Mining and Metal Mineral Processing Facilities.

(ppp) NFPA 130, 2020 edition, Standard for Fixed Guideway Transit and Passenger Rail Systems.

(qqq) NFPA 140, 2018 edition, Standard on Motion Picture and Television Production Studio Soundstages, Approved Production Facilities, and Production Locations.

(rrr) NFPA 150, 2019 edition, Standard on Fire and Life Safety in Animal Housing Facilities.

(sss) NFPA 160, 2021 edition, Standard for the Use of Flame Effects Before an Audience.

(ttt) NFPA 170, 2018 edition, Standard for Fire Safety and Emergency Symbols.

(uuu) NFPA 204, 2018 edition, Standard for Smoke and Heat Venting.

(vvv) NFPA 211, 2019 edition, Standard for Chimneys, Fireplaces, Vents, and Solid Fuel-Burning Appliances.

(www) NFPA 221, 2021 edition, Standard for High Challenge Fire Walls, Fire Walls and Fire Barrier Walls.

(xxx) NFPA 232, 2017 edition, Standard for the Protection of Records.

(yyy) NFPA 241, 2019 edition, Standard for Safeguarding Construction, Alteration, and Demolition Operations.

(zzz) NFPA 251, 2006 edition, Standard Methods of Tests of Fire Resistance of Building Construction and Materials.

(aaaa) NFPA 252, 2017 edition, Standard Methods of Fire Tests of Door Assemblies.

(bbbb) NFPA 253, 2019 edition, Standard Method of Test for Critical Radiant Flux of Floor Covering Systems Using a Radiant Heat Energy Source.

(cccc) NFPA 257, 2017 edition, Standard on Fire Test for Window and Glass Block Assemblies.

(dddd) NFPA 259, 2018 edition, Standard Test Method for Potential Heat of Building Materials.

(eeee) NFPA 260, 2019 edition, Standard Methods of Tests and Classification System for Cigarette Ignition Resistance of Components of Upholstered Furniture.

(ffff) NFPA 261, 2018 edition, Standard Method of Test for Determining Resistance of Mock-Up Upholstered Furniture Material Assemblies to Ignition by Smoldering Cigarettes.

(gggg) NFPA 265, 2019 edition, Standard Methods of Fire Tests for Evaluating Room Fire Growth Contribution of Textile or Expanded Vinyl Wall Coverings on Full Height Panels and Walls.

(hhhh) NFPA 286, 2019 edition, Standard Methods of Fire Tests for Evaluating Contribution of Wall and Ceiling Interior Finish to Room Fire Growth.

(iiii) NFPA 288, 2019 edition, Standard Methods of Fire Tests of Horizontal Fire Door Assemblies Installed in Horizontal Fire Resistance-Rated Assemblies.

(jjjj) NFPA 289, 2019 edition, Standard Method of Fire Test for Individual Fuel Packages.

(kkkk) NFPA 301, 2018 edition, Code for Safety to Life from Fire on Merchant Vessels.

(llll) NFPA 302, 2020 edition, Fire Protection Standard for Pleasure and Commercial Motor Craft.

(mmmm) NFPA 303, 2021 edition, Fire Protection Standard for Marinas and Boatyards.

(nnnn) NFPA 307, 2021 edition, Standard for the Construction and Fire Protection of Marine Terminals, Piers, and Wharves.

(oooo) NFPA 312, 2021 edition, Standard for Fire Protection of Vessels During Construction, Conversion, Repair, and Lay-Up.

(pppp) NFPA 318, 2018 edition, Standard for the Protection of Semiconductor Fabrication Facilities.

(qqqq) NFPA 326, 2020 edition, Standard for the Safeguarding of Tanks and Containers for Entry, Cleaning, or Repair.

(rrrr) NFPA 385, 2017 edition, Standard for Tank Vehicles for Flammable and Combustible Liquids.

(ssss) NFPA 400, 2019 edition, Hazardous Materials Code.

(tttt) NFPA 403, 2018 edition, Standard for Aircraft Rescue and Fire-Fighting Services at Airports.

(uuuu) NFPA 407, 2017 edition, Standard for Aircraft Fuel Servicing.

(vvvv) NFPA 408, 2017 edition, Standard for Aircraft Hand Portable Fire Extinguishers.

(wwww) NFPA 409, 2016 edition, Standard on Aircraft Hangars.

(xxxx) NFPA 410, 2020 edition, Standard on Aircraft Maintenance.

(yyyy) NFPA 415, 2016 edition, Standard on Airport Terminal Buildings, Fueling Ramp Drainage, and Loading Walkways.

(zzzz) NFPA 418, 2016 edition, Standard for Heliports.

(aaaaa) NFPA 423, 2016 edition, Standard for Construction and Protection of Aircraft Engine Test Facilities.

(bbbbb) NFPA 484, 2019 edition, Standard for Combustible Metals.

(ccccc) NFPA 495, 2018 edition, Explosive Materials Code.

(ddddd) NFPA 498, 2018 edition, Standard for Safe Havens and Interchange Lots for Vehicles Transporting Explosives.

(eeeee) NFPA 501, 2017 edition, Standard on Manufactured Housing.

(fffff) NFPA 501A, 2017 edition, Standard for Fire Safety Criteria for Manufactured Home Installations, Sites, and Communities.

(ggggg) NFPA 502, 2020 edition, Standard for Road Tunnels, Bridges, and Other Limited Access Highways.

(hhhhh) NFPA 505, 2018 edition, Fire Safety Standard for Powered Industrial Trucks Including Type Designations, Areas of Use, Conversions, Maintenance and Operations.

(iiiii) NFPA 601, 2020 edition, Standard for Security Services in Fire Loss Prevention.

(jjjjj) NFPA 652, 2019 edition, Standard on the Fundamentals of Combustible Dust.

(kkkkk) NFPA 654, 2020 edition, Standard for the Prevention of Fire and Dust Explosions from the Manufacturing, Processing, and Handling of Combustible Particulate Solids.

(lllll) NFPA 655, 2017 edition, Standard for Prevention of Sulfur Fires and Explosions.

(mmmmm) NFPA 664, 2020 edition, Standard for the Prevention of Fires and Explosions in Wood Processing and Woodworking Facilities.

(nnnnn) NFPA 701, 2019 edition, Standard Methods of Fire Tests for Flame Propagation of Textiles and Films.

(ooooo) NFPA 703, 2021 edition, Standard for Fire Retardant-Treated Wood and Fire-Retardant Coatings for Building Materials.

(ppppp) NFPA 704, 2017 edition, Standard System for the Identification of the Hazards of Materials for Emergency Response.

(qqqqq) NFPA 731, 2020 edition, Standard for the Installation of Electronic Premises Security Systems.

(rrrrr) NFPA 750, 2019 edition, Standard on Water Mist Fire Protection Systems.

(sssss) NFPA 780, 2020 edition, Standard for the Installation of Lightning Protection Systems.

(ttttt) NFPA 801, 2020 edition, Standard for Fire Protection for Facilities Handling Radioactive Materials.

(uuuuu) NFPA 804, 2020 edition, Standard for Fire Protection for Advanced Light Water Reactor Electric Generating Plants.

(vvvvv) NFPA 805, 2020 edition, Performance-Based Standard for Fire Protection for Light Water Reactor Electric Generating Plants.

(wwwww) NFPA 820, 2020 edition, Standard for Fire Protection in Wastewater Treatment and Collection Facilities.

(xxxxx) NFPA 855, 2020 edition, Standard for the Installation of Stationary Energy Storage System

(yyyyy) NFPA 909, 2017 edition, Code for the Protection of Cultural Resources Properties – Museums, Libraries, and Places of Worship.

(zzzzz) NFPA 914, 2019 edition, Code for Fire Protection of Historic Structures.

(aaaaaa) NFPA 1122, 2018 edition, Code for Model Rocketry.

(bbbbbb) NFPA 1123, 1995 edition, Code for Fireworks Display.

(cccccc) NFPA 1124, 2017 edition, Code for the Manufacture, Transportation, and Storage of Fireworks and Pyrotechnic Articles.

(dddddd) NFPA 1125, 2017 edition, Code for the Manufacture of Model Rocket and High-Power Rocket Motors.

(eeeeee) NFPA 1126, 2001 edition, Standard for the Use of Pyrotechnics before a Proximate Audience.

(ffffff) NFPA 1127, 2018 edition, Code for High Powered Rocketry.

(gggggg) NFPA 1142, 2017 edition, Standard on Water Supplies for Suburban and Rural Fire Fighting.

(hhhhhh) NFPA 1144, 2018 edition, Standard for Reducing Structure Ignition Hazards from Wildland Fire.

(iiiiii) NFPA 1192, 2021 edition, Standard on Recreational Vehicles.

(jjjjjj) NFPA 1194, 2021 edition, Standard for Recreational Vehicle Parks and Campgrounds.

(kkkkkk) NFPA 1221, 2019 edition, Standard for the Installation, Maintenance, and Use of Emergency Services Communications Systems.

(llllll) NFPA 1730, 2019 edition, Standard on Organization and Deployment of Fire Prevention Inspection and Code Enforcement, Plan Review, Investigation, and Public Education Operations.

(mmmmmm) NFPA 1901, 2016 edition, Standard for Automotive Fire Apparatus.

(nnnnnn) NFPA 1906, 2016 edition, Standard for Wildland Fire Apparatus.

(oooooo) NFPA 1925, 2018 edition, Standard on Marine Fire-Fighting Vessels.

(pppppp) NFPA 1963, 2019 edition, Standard for Fire Hose Connections.

(qqqqqq) NFPA 2001, 2018 edition, Standard on Clean Agent Fire Extinguishing Systems.

(rrrrrr) NFPA 2010, 2020 edition, Standard for Fixed Aerosol Fire-Extinguishing Systems.

(ssssss) NFPA 2113, 2020 edition, Standard on Selection, Care, Use, and Maintennce of Flame-Resistant Garments for Protection of Industrial Personnel Against Short-Duration Thermal Exposures from Fire.

(tttttt) SFPE Engineering Guide to Performance-Based Fire Protection Analysis and Design of Buildings, Society of Fire Protection Engineers, Bethesda, Maryland 5th edition (2016).

(uuuuuu) The portions of ANSI A14.3-2008(R2018), Safety Code for Fixed Ladders, which pertain to fire escape ladders and which may be obtained at American National Standards Institute, 25 West 43rd Street, 4th Floor, New York, NY 10036.

(vvvvvv) Chapter 4, Accessible Routes, ICC/ANSI A117.1-2017, which may be obtained at American National Standard for Accessible and Usable Buildings and Facilities, American National Standards Institute, 25 West 43rd Street, 4th Floor, New York, NY 10036.

(wwwwww) The portions of ANSI A1264.1-1995, Safety Requirements for Workplace Floor and Wall Openings, Stairs and Railing Systems, which pertain to fire escape ladders and which may be obtained at American National Standards Institute, 25 West 43rd Street, 4th Floor, New York, NY 10036.

(xxxxxx) ANSI/UL 2079, 2015 edition, Test of Fire Resistance of Building Joint Systems, which may be obtained at Underwriters Laboratories Inc., 333 Pfingsten Rd., Northbrook, IL 60062.

(yyyyyy) The portions of ASME/ANSI A17.01-2016, Safety Code for Elevators and Escalators, which may be obtained at American Society of Mechanical Engineers, Three Park Avenue, New York, NY 10016-5990.

(zzzzzz) The portions of ASME/ANSI A17.3-2017, Safety Code for Existing Elevators and Escalators, which may be obtained at American Society of Mechanical Engineers, Three Park Avenue, New York, NY 10016-5990.

(aaaaaaa) ASTM D 2898-2010, (Reaffirmed 2017), Test Method for Accelerated Weathering of Fire Retardant-Treated Wood for Fire Testing, which may be obtained at American Society for Testing and Materials, 100 Barr Harbor Drive, West Conshohocken, PA 19428-2959.

(bbbbbbb) ASTM E 136-2019, Standard Test Method for Behavior of Materials in a Vertical Tube Furnace at 750°C, which may be obtained at American Society for Testing and Materials, 100 Barr Harbor Drive, West Conshohocken, PA 19428-2959.

(ccccccc) ASTM E 1537, 2016 edition, Standard Test Method for Fire Testing of Upholstered Furniture, which may be obtained at American Society for Testing and Materials, 100 Barr Harbor Drive, West Conshohocken, PA 19428-2959.

(ddddddd) ASTM E 1590-17, Standard Test Method for Fire Testing of Mattresses, American Society for Testing and Materials, which may be obtained at 100 Barr Harbor Drive, West Conshohocken, PA 19428-2959.

(eeeeeeee) ASTM E 1591-13, Standard Guide for Obtaining Data for Deterministic Fire Models, which may be obtained at American Society for Testing and Materials, 100 Barr Harbor Drive, West Conshohocken, PA 19428-2959.

(fffffff) ASTM F 851-1987 (Reaffirmed 2013), Standard Test Method for Self-Rising Seat Mechanisms, which may be obtained at American Society for Testing and Materials, 100 Barr Harbor Drive, West Conshohocken, PA 19428-2959, but only to the extent referenced in Subdivision 12.2.5.5.1 and 12.2.5.5.2 of NFPA 101, 2000 edition.

(ggggggg) ANSI/BHMA A-156.19-2013, American National Standard for Power Assist and Low Energy Power Operated Doors, which may be obtained at Buildings Hardware Manufacturers Association, 355 Lexington Avenue, 17th Floor, New York, NY 10017-6603.

(hhhhhhh) UL 924, 2016 Edition Standard for Safety Emergency Lighting and Power Equipment, Underwriters Laboratories, Inc., which may be obtained at 333 Pfingsten Rd., Northbrook, IL 60062.

(iiiiiii) UL 1975, 2006 Edition Standard for Fire Tests for Foamed Plastics Used for Decorative Purposes, Underwriters Laboratories, Inc., which may be obtained at 333 Pfingsten Rd., Northbrook, IL 60062.

(3)(a) The NFPA standards referenced in subsection (2) are copyrighted materials that cannot be copied but may be:

1. Obtained by contacting the NFPA at 1 Batterymarch Park, Quincy, Massachusetts 02169-7471; Phone 1(800)344-3555; Website www.nfpa.org.; or

2. Accessed in a read-only, non-printable, non-downloadable format at the NFPA’s website at https://www.nfpa.org/Codes-and-Standards/All-Codes-and-Standards/Free-access.

(b) The copyrighted NFPA standards referenced in subsection (2) may be viewed, during regular business hours, at the offices of:

1. The Division of State Fire Marshal, 325 John Knox Road, Third Floor, Atrium Building, Tallahassee, Florida 32303; or

2. The Florida Administrative Code and Register, R.A. Gray Building, 500 South Bronough Street, Tallahassee, Florida 32399-0250.

(4) The Secretary of the Interior’s Standards for Rehabilitation and Guidelines for Rehabilitating Historic Buildings may be obtained by writing the Florida Department of State, Division of Historical Resources, R.A. Gray Building, 500 South Bronough Street, Tallahassee, Florida 32399-0250. All standards adopted and incorporated by reference in this rule are also available for public inspection during regular business hours at the Bureau of Fire Prevention, Division of State Fire Marshal, Department of Financial Services, 325 John Knox Road, The Atrium, Third Floor, Tallahassee, Florida 32303.

(5) Only the codes, standards, publications, or other references adopted in this chapter are enforceable as part of the Florida Fire Prevention Code. Any code, standard, publication or other reference not adopted in this chapter is not a part of the Florida Fire Prevention Code and may only be enforced by a local government if it has been adopted as a local amendment of the local government pursuant to Sections 633.202(2), 633.202(10) or 633.208(3), F.S.

Rulemaking Authority 633.104, 633.202, 633.208 FS. Law Implemented 633.104, 633.202, 633.208, 791.012 FS. History–New 11-15-01, Formerly 4A-60.005, Amended 11-28-04, 5-18-08, 12-31-08, 4-25-12, 12-31-14, 12-31-17, 12-31-20, 12-31-23.