Notice of Bid/Request for Proposal

DEPARTMENT OF EDUCATION

University of Florida

Greenhouse Repair University of Florida Homestead

UNIVERSITY OF FLORIDA – IFAS GREENHOUSE HOMESTEAD, FLORIDA

Bid Package Numbers: Bid Package # 8222, Bid Package # 8228, Bid Package # 8249, Bid Package # 8250, Bid Package # 8251, Bid Package # 8262, Bid Package # 8263, Bid Package # 8271

Entitled: 13 Special Construction

University of Florida, IFAS Greenhouse, Homestead, FL

Instruction to Bidders

1. There will be a Mandatory pre-bid meeting at the site on January 9, 2024, 8:00 a.m. The site address is 18905 SW 280th St, Homestead, FL, 33031. Questions will be received until 3:00 p.m., January 16, 2024.

2. All bidders must preregister for Mandatory meeting by 12:00 noon, January 11 by sending an email to hunter@rfc95.com. If no bidders preregister the pre-bid meeting will be canceled.

3. Sealed bids for bid package No.entitled Greenhouse will be received by Ryan Fitzgerald Construction, Inc., Construction Manager no later than 2:00 p.m., January 24, 2024. Sealed bids will be received at 27201 Blackwater Court, Eustis, Florida 32736. Any bids received after the posted cut-off time will be returned unopened. If mailing the bids via US mail please mail to 27201 Blackwater Court, Eustis, Florida 32736.

4. All bids must be per the attached scope of work.

5. The construction Manager reserves the right to reject any or all bids, accept bids in any order or combination, make modifications to the work after bidding, and waive any in formalities or irregularities in bids if it is deemed in the Owner’s best interest to do so.

6. The form of agreement between the subcontractor and the construction manager is attached.

7. Direct all questions to Ryan Fitzgerald with Ryan Fitzgerald Construction, Inc. at (352)223-2879 or to email address ryan@rfc95.com

8. Note: CM will provide all required permits.

9. When applicable submit multiple proposal forms. One proposal form per bid package for clarification.

10.A downloadable document can be found at www.ryanfitzgeraldconstruction.com

PROPOSAL FORM

PROPOSAL FOR: UNIVERSITY OF FLORIDA – IFAS GREENHOUSE

Bid Package Number: ____________

Division: __13___

Entitled:	 University of Florida – IFAS Greenhouse

Proposal Of:	__________________________________________

(Bidder)	__________________________________________

__________________________________________

Proposal To:	Ryan Fitzgerald Construction, Inc.

27201 Blackwater Court

Eustis, Florida 32736

Phone: (352)223-2879

Fax: (407)386-6996

1. The Bid Package Bid Package referenced herein is entitled Bid Package No. ___________.University of Florida – IFAS Greenhouse, _________, Florida.

2. ________________________________________________, the undersigned, do hereby declare that we have carefully examined the site of the proposed work and the contract documents. We do hereby agree to furnish all material, transportation, equipment, apparatus systems, labor and supervision required to do all work in strict accordance with the contract documents for the Following Base Bid Price for Bid Package

No.__________ - University of Florida – IFAS Greenhouse.

Total bid price for all work, complete, in accordance with the contract documents of the above referenced bid package:

Base Bid________________________________________________________________ ____________________________________________Dollars ($_________________).

The following addenda have been received and any changes to the contract documents have been noted and incorporated into this proposal.

Addenda # ___________	Dated:________________

Addenda #___________	Dated:________________

Addenda #___________	Dated:________________

Addenda #___________	Dated:________________

| 1/ | Do you acknowledge receipt of 100% Construction Documents? Y or N |
| --- | --- |
| 2/ | Do you acknowledge all the requirements outlined in your scope of work and the General scope of work? Y or N |
| 3/ | Is this bid in strict accordance with the plans & specifications? Y or N |
| 4/ | Have you reviewed and are you prepared to sign the CM’s “Subcontract Agreement”? Y or N |
| 5/ | Have you reviewed the attached project schedule and agree to complete your scope(s) of work in accordance with that schedule? Y or N |

Bidder:____________________________________________________________

Address:___________________________________________________________

Tel:___________________ Email:____________________________________

Contact:_________________________________

By:____________________________________________________________

(Member of the Firm Authorized to Sign Bid)

Title:___________________________	License #________________________

The Bidder is a/an:

(___) Individual

(___) Partnership

(___) Corporation, Incorporated in the State of _______________

Bid Package # 8222, Bid Package # 8228, Bid Package # 8249, Bid Package # 8250, Bid Package # 8251, Bid Package # 8262, Bid Package # 8263, Bid Package # 8271

1. Definition, Correlation, and Intent

The following requirements form a part of the contract documents for, and refer solely to, the work of the above-entitled subcontract. All information contained herein is provided for the purpose of defining and describing the work which shall be included in the scope of work of the subcontract and to identify certain specific information which will be required to furnish a complete contract. It is the intent that the requirements of the section shall be complementary to, and shall be correlated with, the requirements of all other contract documents referenced herein and made part of the contract.

Homestead Scope of work

Bid Package # 8222

1. This quote includes removal of all existing glass panels.

2. Replace the existing glass with new, clear 6mm twin wall polycarbonate.

3. Approved sealants and hardware per manufactures specifications.

4. (2) separate rooms, Structure is approximately 31’x13’x 9’ and 19’x13’x 9’.

Bid Package # 8228

1. This quote includes removal of all existing glass panels.

2. Replace the existing glass with new, clear 6mm twin wall polycarbonate.

3. Approved sealants and hardware per manufactures specifications.

4. The structure is approximately 14’x32’x 9’.

Bid Package # 8249

1. This quote includes removal of all existing glass panels.

2. Replace the existing glass with new, clear 6mm twin wall polycarbonate.

3. Approved sealants and hardware per manufactures specifications.

4. The structure is approximately 21’x 18’x 9’.

Bid Package # 8250

1. This quote includes removal of all existing glass panels.

2. Replace the existing glass with new, clear 6mm twin wall polycarbonate.

3. Approved sealants and hardware per manufactures specifications.

4. The structure is approximately 21’x 18’ x 9’.

Bid Package # 8251

1. This quote includes removal of all existing glass panels.

2. Replace the existing glass with new, clear 6mm twin wall polycarbonate.

3. Approved sealants and hardware per manufactures specifications.

4. The structure is approximately 21’ x 18’ x 9’, panels are 30”.

Bid Package # 8262

1. Remove and replace (4) 30" exhaust fans, slant wall aluminum housing.

2. Entire wet wall system; trough, tank and pads-24’x4’x6”.

3. Replace with either Lubing or American Cool Air PVC open top system.

4. Remove and replace existing overhead lights with (32) LED lights over benches

5. Remove and replace the existing Wadsworth with a new Wadsworth step-up control panel.

6. Remove and replace the existing heater with a new 100,000 BTU Propane heater.

Bid Package # 8263

1. Remove and replace (4) 30" exhaust fans, slant wall aluminum housing.

2. Remove and replace cooling system with either Lubing or American Cool Air PVC open top system.

3. Remove and replace existing lights with (32) 4’ vapor tight LED lights over benches.

4. Remove and replace the existing Wadsworth controller and replace it with a new Wadsworth step-up control panel.

5. Remove and replace the existing heater with a new 100,000 BTU propane heater.

Bid Package # 8271

1. New step-up controllers for each room, 6 total

2. Installation of customer provided shade cloth for retractable systems

3. Remove and replace (6) cooling systems with either Lubing or American Cool Air PVC open top system.

4. New aluminum framing from the gutter down on cooling system wall this including girts and post.

5. Remove and replace all corrugated polycarbonate on cooling system gable wall.

6. Repair of rusted posts with new baseplate repair boots attached to existing posts.

7. Remove and replace the existing HAF fans in each compartment.

8. Remove and replace the existing slant wall exhaust fans with aluminum housings 38 ½” x 38 ¾”

9. Remove and replace the existing bottom purlin as necessary. Remove and replace the existing LED lights to replace existing lights.

10.Installation of a screen enclosure over the fans on compartment 6 covered with 50 mesh screen.