Notice of Declaratory Statement

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Florida Building Commission

RULE NO.:	RULE TITLE:

61G20-1.001	Florida Building Code Adopted

NOTICE IS HEREBY GIVEN that the Florida Building Commission has issued an order disposing of the petition for declaratory statement filed by Jax Apex Technology, Inc. on November 27, 2023. The following is a summary of the agency's disposition of the petition:

Petitioner requested an answer to the following question, based upon the project described within its petition: Does section R301.2.1.1, Florida Building Code, Residential, 8th Edition (2023), allow performance-based design of roof deck thickness? On February 13, 2024, the Commission provided the following answer: yes. Pursuant to section R301.2.1.1, Florida Building Code, 8th Edition (2023), performance-based design (i.e. ASCE 7) is an acceptable option for designing wood buildings and their roof deck thickness for wind load.

A copy of the Order Disposing of the Petition for Declaratory Statement may be obtained by contacting: Agency Clerk’s Office, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)921-0342, AGC.Filing@myfloridalicense.com.