Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Division of Hotels and Restaurants

RULE NO.:	RULE TITLE:

61C-5.001	Safety Standards

NOTICE IS HEREBY GIVEN that on May 14, 2024, the Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety, received a petition for CC-Naples, Inc. at 2219 Viewpoint Dr., Naples, FL 34110. Petitioner seeks an emergency variance of the requirements of Rule 2.7.3.1.1, ASME A17.1, 2016, edition and Rule 3005.1, Florida Building Code 2020, edition, as adopted by 61C-5.001, Florida Administrative Code that requires a permanent and unobstructed mean of access shall be provided to (a) machine rooms and control rooms (b) machinery spaces and control spaces outside the hoistway (c) machinery spaces and control spaces inside the hoistway that do not have a means of access to the spaces as specified in 2.7.3.1.2 and an approved means of access shall be provided to the elevator machine rooms, control rooms, control spaces and machinery spaces, which poses a significant economic/financial hardship. Any interested person may file comments within 5 days of the publication of this notice with Division of Hotels and Restaurants, Bureau of Elevator Safety, 2601 Blair Stone Road, Tallahassee, Florida 32399-1013 (VW2024-090).

A copy of the Petition for Variance or Waiver may be obtained by contacting: Division of Hotels and Restaurants, Bureau of Elevator Safety, 2601 Blair Stone Road, Tallahassee, Florida 32399-1013. dhr.elevators@myfloridalicense.com