Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Division of Hotels and Restaurants

RULE NO.:	RULE TITLE:

61C-5.001	Safety Standards

NOTICE IS HEREBY GIVEN that on May 24, 2024, the Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety, received a petition for San-Dip, LLC at 2900 N Monroe St., Tallahassee, FL 32303. Petitioner seeks an emergency variance of the requirements of ASME A17.3, 2015 Edition, Section 3.11.3, as adopted by 61C-5.001, Florida Administrative Code that requires elevators shall conform to the requirements of ASME/ANSI A17.l-1987 Rules 211.3 through 211.8 (see Nonmandatory Appendix C) unless at the time of installation or alteration it was required to comply with a later edition of A17.1. All elevators that are a part of a group shall conform to identical firefighters' service operation requirements regardless of which edition of A17.1 they complied with at the time of their installation or alteration. The Phase I and Phase II switches for all elevators in a building shall be operable by the same key which poses a significant economic/financial hardship. Any interested person may file comments within 5 days of the publication of this notice with Division of Hotels and Restaurants, Bureau of Elevator Safety, 2601 Blair Stone Road, Tallahassee, Florida 32399-1013 (VW2024-097).

A copy of the Petition for Variance or Waiver may be obtained by contacting: Division of Hotels and Restaurants, Bureau of Elevator Safety, 2601 Blair Stone Road, Tallahassee, Florida 32399-1013. dhr.elevators@myfloridalicense.com