Notice of Declaratory Statement

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Florida Building Commission

RULE NO.:	RULE TITLE:

61G20-1.001	Florida Building Code Adopted

NOTICE IS HEREBY GIVEN that the Florida Building Commission has received the petition for declaratory statement from the Broward County Board of Rules and Appeals. The petition seeks the agency's opinion as to the applicability of chapter 11, Florida Building Code, Mechanical, 8th Edition (2023), as it applies to the petitioner.

Petitioner presents the following questions pertaining to the use of A2L refrigerants: 1. Can a refrigeration system using an A2L refrigerant be designed and installed using ASHRAE 15-2019 if the Florida Building Code, Mechanical, 8th Edition (2023), Chapter 11 addresses said refrigerant and has more restrictive requirements? 2. Can the A2L refrigerant quantity in an independent refrigerant circuit in a high-probability system exceed the amount for A2 refrigerants stated in Table 1104.3.2 of the Florida Building Code, Mechanical, 8th Edition (2023), Chapter 11 or in ASHRAE 15-2019, Table 7.1? 3. Can an alternative method be used to design and install an independent refrigerant circuit in a high-probability system that exceeds the amount of A2 or A2L refrigerant stated in Table 1104.3.2 of the Florida Building Code, Mechanical, 8th Edition (2023), Chapter 11? 4. Can a refrigeration system be designed and installed using ASHRAE 15-2022 or Chapter 11 of the 2024 International Mechanical Code as an alternative to the current FMC?

A copy of the Petition for Declaratory Statement may be obtained by contacting: the Agency Clerk’s Office, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)921-0342, AGC.Filing@myfloridalicense.com.

Please refer all comments to: Mo Madani, Building Codes and Standards Office, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)487-1824, mo.madani@myfloridalicense.com or W. Justin Vogel, Office of the General Counsel, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)717-1795, wjustin.vogel@myfloridalicense.com.

RESPONSES, MOTIONS TO INTERVENE, OR REQUESTS FOR A HEARING MUST BE FILED WITHIN 21 DAYS OF THIS NOTICE.