Notice of Bid/Request for Proposal

DEPARTMENT OF MILITARY AFFAIRS

222013 Support Area A Fencing and Maintenance Shelter

STATE OF FLORIDA, DEPARTMENT OF MILITARY AFFAIRS

PUBLIC ANNOUNCEMENT

INVITATION TO BID

Issuing Agency: Department of Military Affairs

Project Number and Name: 222013 Support Area A Fencing & Vehicle Maintenance Shelter

Project Location: Camp Blanding Joint Training Center, Starke, FL

General Statement of Work: Contractor shall furnish all labor, supervision, materials, equipment, bonding and insurance, and permits for the following:

Fencing: Construct a fence around the Camp Blanding Area A Parking Lot. Furnish and install approximately 3,364 linear feet of 6 foot high, chain link fence around the perimeter of the parking lot. Furnish and install five (5), 24-foot-wide cantilever type gates and five (5), four (4) foot wide pedestrian swing gates as depicted on the attached site layout. Fencing materials and installation will be in accordance with the attached Camp Blanding fencing specifications. Contractors are responsible for verifying linear feet and quantities of all fencing materials prior to bidding. Contractor will be responsible for providing any required shop drawings prior to construction.

Vehicle Maintenance Shelter: Furnish and install one (1) open ended “Big Top” or like fabric structure (see attached shop drawing) to meet the following specifications:

- 50 foot wide x 100 foot long x 23 foot center height x 15 foot side wall

- 28 oz cover, white, flame -retardant PVC coated fabric with polyester scrim, 20 year warranty

- Frame Members: 24 inch Heavy Wall ASTM Zinc Tubular Steel meets z-bar truss design on 10 foot centers.

- Spiral Anchors with Big Top hardware for anchoring asphalt

- Fabric ends at the base of the shelter

- All weld joints coated with 97% zinc “cold gal” for corrosion protection

- All connections via a slip fit and bolt together junction

Estimated Construction Cost: $300,000.00

Type of Contractor: Licensed Building or General as required by statute

Date of VIP Posting: 07/12/2024

Site Visit Date: As stated on the Vendor Information Portal

Bid Opening Date: As stated on the Vendor Information Portal (late bids will not be accepted)

Point Of Contact: Department of Military Affairs, CFMO Contract Management Office at (904)827-8544 or e-mail ng.fl.flarng.list.cfmo-contracting@army.mil.

FOR COMPLETE INFORMATION AND SUBMISSION REQUIREMENTS PLEASE REFER TO THE MYFLORIDAMARKETPLACE VENDOR INFORMATION PORTAL AT:

https://vendor.myfloridamarketplace.com