Notice of Declaratory Statement

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Florida Building Commission

RULE NO.:	RULE TITLE:

61G20-1.001	Florida Building Code Adopted

NOTICE IS HEREBY GIVEN that the Florida Building Commission has issued an order disposing of the petition for declaratory statement filed by Drumm Engineering Corporation on April 22, 2024. The following is a summary of the agency's disposition of the petition:

Petitioner requested an answer to the following question, based upon the project described within its petition: If I design the residential home foundation and fill soil to meet the requirements for Chapter 4 of the Florida Building Code – Residential, am I still required to design the foundation and fill soils to meet the requirements of the Florida Building Code, Building, Chapter 18? On June 28, 2024, the Commission provided the following answer: No. Pursuant to sections 101.2, Florida Building Code, Building, 8th Edition (2023), and R101.2, Florida Building Code, Residential, 8th Edition (2023), the design and construction of the foundations and fill soils in question are subject to the construction requirements of chapter 4 of the Florida Building Code, Residential, 8th Edition (2023). The Florida Building Code, Residential, 8th Edition (2023), is a standalone sub-code and there is no specific code requirement which mandates compliance with chapter 18 of the Florida Building Code, Building, 8th Edition (2023), in addition to that of chapter 4 of the Residential volume.

A copy of the Order Disposing of the Petition for Declaratory Statement may be obtained by contacting: Agency Clerk’s Office, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)921-0342, AGC.Filing@myfloridalicense.com.