Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Division of Hotels and Restaurants

RULE NO.:	RULE TITLE:

61C-5.001	Safety Standards

The Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety hereby gives notice: On July 25, 2024 the Division issued an order. The Final Order was in response to a Petition for an emergency permanent Variance from 1000 Ocean Condominium located at 1000 Ocean Blvd Elev #8, Boca Raton, 33432, filed May 14, 2024, and advertised on May 17, 2024, in Vol. 50, No. 98, of the Florida Administrative Register. No comments were received in response to the petition. The Final Order on the Petition for Variance grants the Petitioner a variance from Rules 2.8.1 and 2.8.2.2, ASME A17.1, 2019, edition, as adopted by Rule 61C-5.001 Florida Administrative Code that no foreign equipment can be placed in the hoistway, because the Petitioner has demonstrated that the purpose of the underlying statute has been met and that Petitioner would suffer a substantial hardship if required to comply with this rule (VW2024-083).

A copy of the Order or additional information may be obtained by contacting: Division of Hotels and Restaurants, Bureau of Elevator Safety, 2601 Blair Stone Road, Tallahassee, Florida 32399-1013. dhr.elevators@myfloridalicense.com.