Notice of Declaratory Statement

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Florida Building Commission

RULE NO.:	RULE TITLE:

61G20-1.001	Florida Building Code Adopted

NOTICE IS HEREBY GIVEN that the Florida Building Commission has issued an order disposing of the petition for declaratory statement filed by Dixie County on July 15, 2024. The following is a summary of the agency's disposition of the petition:

Petitioner requested an answer to the following question, based upon the project described in its petition: Are unwalled/open structures such as pole barns, gazebos, docks, platforms, boat shelters or boat covers required to comply with sections R322.2.1(5) and R322.3.2(4) of the 8th Edition (2023) Florida Building Code, Residential? On August 13, 2024, the Commission provided the following answer: No. Unwalled/open structures (i.e., pole barns, gazebos, docks, platforms, boat shelters, and covers) are not required to meet the requirements of sections R322.2.1(5) and R322.3.2(4), Florida Building Code, Residential, 8th Edition (2023).

A copy of the Order Disposing of the Petition for Declaratory Statement may be obtained by contacting: Agency Clerk’s Office, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)921-0342, AGC.Filing@myfloridalicense.com.