Notice of Declaratory Statement

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Florida Building Commission

RULE NO.:	RULE TITLE:

61G20-1.001	Florida Building Code Adopted

NOTICE IS HEREBY GIVEN that the Florida Building Commission has received the petition for declaratory statement from Pipelining Technologies, Inc. The petition seeks the agency's opinion as to the applicability of section 718.1, Florida Building Code, Plumbing, 8th Edition (2024), and section P3012.1, Florida Building Code, Residential, 8th Edition (2024), as it applies to the petitioner.

Petitioner is a licensed plumbing contractor seeking to rehabilitate an 8,280 foot vertical drainage system in a multi-story building, and plans to use a cured-in-place pipe ("CIPP") method called "gapping," "start and stop," or "hybrid" pipe lining. Petitioner presents the following questions: 1. Can an installation using a CIPP process to cut out all lateral connection points from the sleeve prior to the installation of the liners or a similar CIPP drainage pipe rehabilitation material installation method be utilized in reference with the Florida Building Code's 718.1 and P3012.1 requirement of adherence to ASTM F1216 and ASTM F1743? 2. Can a CIPP process to cut out all lateral connection points from the sleeve prior to the installation of the liners or similar drainage pipe rehabilitation material installation methods or processes along with an epoxy, polyurea, or polyurethane brush coating, spin casting, or spray coating process be utilized with the Florida Building Code's 718.1 and P3012.1 requirement of adherence to ASTM F1216 and ASTM F1743, and IPC/ICC Code 303.4 regarding third party certifications? 3. Can a CIPP installation of epoxy, polyurea, or polyurethane brush coating, spin casting, or spray coating as part of a drainage pipe rehabilitation process be utilized with the Florida Building Code's 718.1 and P3012.1 requirement of adherence to ASTM F1216 and ASTM F1743, and IPC/ICC Code 303.4 regarding third party certifications?

A copy of the Petition for Declaratory Statement may be obtained by contacting: the Agency Clerk’s Office, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)921-0342, AGC.Filing@myfloridalicense.com.

Please refer all comments to: Mo Madani, Building Codes and Standards Office, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)487-1824, mo.madani@myfloridalicense.com or W. Justin Vogel, Office of the General Counsel, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)717-1795, wjustin.vogel@myfloridalicense.com.

RESPONSES, MOTIONS TO INTERVENE, OR REQUESTS FOR A HEARING MUST BE FILED WITHIN 21 DAYS OF THIS NOTICE.