- 62-565.630 Recordkeeping.

Unless the permit specifically indicates an alternative location, the permittee shall maintain the following records on the site of the permitted facility or activity:

(1) Records of all compliance monitoring information, including all calibration and maintenance records and all original strip chart recordings for continuous monitoring instrumentation, including, if applicable, a copy of the laboratory certification showing the certification number of the laboratory, for at least five years from the date the sample or measurement was taken;

(2) Copies of all reports, required by the permit for at least five years from the date the report was prepared;

(3) Records of all data, including reports and documents, used to complete the application for the permit for at least five years from the date the application was filed;

(4) All records used for calculations for reporting pursuant to this chapter for a period of five years from the date on which such information is submitted to the Department for any regulatory purpose.

(5) Copies of the logs and schedules showing plant operations and equipment maintenance for five years from the date on the logs or schedules;

(6) A copy of the current permit;

(7) A copy of the current operation and maintenance manual as required by Rule 62-565.590, F.A.C.;

(8) A copy of any required record drawings;

(9) Copies of the licenses of the current licensed operators; and

(10) A copy of the Joint Operations Plan as required in Rule 62-565.500, F.A.C.

Rulemaking Authority 403.861(9), 403.064(17) FS. Law Implemented 403.852(12), 403.861(7), 403.853(6), 403.861(17), 403.064(17) FS. History – New 2-26-25.