Notice of Change/Withdrawal

DEPARTMENT OF AGRICULTURE AND CONSUMER SERVICES

Division of Consumer Services

RULE NOS.:	RULE TITLES:

5J-28.001	Definitions

5J-28.002	Local Government Entities

5J-28.003	Safety

5J-28.004	Installation and Design

5J-28.005	Signage

5J-28.006	Registration

5J-28.007	Prohibitions

5J-28.008	Enforcement

NOTICE OF CHANGE

Notice is hereby given that the following changes have been made to the proposed rule in accordance with subparagraph 120.54(3)(d)1., F.S., published in Vol. 50 No. 230, November 25, 2024 issue of the Florida Administrative Register.

5J-28.001 Definitions.

As used in this chapter:

(1) “Charger” means the portion of the EVSE that connects to the EV and includes the charging cables, charging connectors, and any internal the meter used to measure the electricity transferred to the EV.

(2) “Charging connector” means the portion of the charger that transfers electricity connects to the EV via conductive, inductive, or wireless power transfer for the transfer of electricity to the electric vehicle. Charging connectors are also known as plugs, socket-outlets, and vehicle connectors. Chargers may have more than one charging connector.

(3) “Charging station” means the area in the immediate vicinity of EVSE or group of EVSE, and includes the EVSE, supporting electrical equipment, and EV parking spaces designated for EV fueling parking areas adjacent to the EVSE. A charging station may comprise only part of the property on which it is located.

(4) No change.

(5) “Direct current fast charger” or “DCFC” means EVSE that delivers direct current electricity directly to an EV’s battery.

(5)(6) “Electric vehicle” or “EV” means an automotive-type vehicle for on-road use, such as passenger automobiles, buses, trucks, vans, neighborhood electric vehicles, and electric motorcycles, primarily powered by an electric motor that draws current from a rechargeable storage battery, fuel cell, photovoltaic array, or other source of electric current. Plug-in hybrid electric vehicles (PHEV) are electric vehicles having a second source of motive power. It does not include golf carts, electric scooters, electric bicycles, or other micromobility devices.

(7) through (10) renumbered (6) through (9) No change.

(10) “Level 3 charger” means EVSE that delivers direct current electricity directly to an EV’s battery. Level 3 chargers are also known as direct current fast chargers or DCFC.

(11) No change.

(12) “Operator” means the entity or entities responsible for the operation and/or maintenance of the charging station and compliance with this rule chapter. The operator and owner of the EV charging station may be the same entity.

Rulemaking Authority 366.94(2)(b) FS. Law Implemented 366.94 FS. History–New ________.

5J-28.002 Local Government Entities.

(1) A local government entity may not enact or enforce any ordinance or regulation related to EV charging stations or create a condition for a permit or other approval for such stations, that would require a minimum or maximum number of chargers, EV parking spaces, or other type of EV infrastructure for the development, construction, or modification of any new or existing structure.

(2) EV parking spaces that are part of an EV charging station shall be included in may not be excluded from the total parking space count used to determine compliance with local parking requirements.

(3) The addition of EV chargers parking spaces at an EV a charging station that reduces the total number of parking spaces at a location may not affect the location’s original compliance with local parking space minimums.

(4) through (7) No change.

(8) All required permitting, including inspections, must be completed, and a permit issued to the applicant or the application denied within ninety (90) thirty (30) days from the receipt of a complete permit application.

(9) Upon receipt of a permit application, the local government entity shall examine the application and notify the applicant within 30 days of any errors or omissions and request any additional information the local government entity requires. A local government entity may not deny an application based on failure to submit additional information or correct an error or omission unless the applicant was timely notified. The notice shall request that any additional information be submitted and that the errors or omissions be corrected within 30 days of the notification. If the local government entity fails to provide timely notification of any error or omission or request additional information, then the application shall be considered complete as of the date it was originally received. When a local government entity does provide timely notification, then the application shall be considered complete upon receipt of all required information and correction of any error or omission for which the applicant was timely notified, when the time to provide additional information and correct errors or omissions has expired, or when the applicant has requested that the local government entity proceed to process the application. All permit application approvals are subject to passage of on-site safety inspections.

Rulemaking Authority 366.94(2)(b) FS. Law Implemented 366.94 FS. History–New_______.

5J-28.003 Safety.

(1) through (2) No change.

(3) All EVSE installed at an EV charging station shall comply with relevant safety provisions of the Florida Building Code as adopted in Rule 61G20-1.001, F.A.C., including local amendments related to safety, if applicable.

(4) All EVSE installed at an EV charging station shall be installed by a certified or registered electrical contractor, in accordance with the EVSE manufacturer’s requirements, the standards of NFPA 70, and the Florida Building Code, as referenced in this rule.

(5) The operator of the EV charging station must retain the installation records demonstrating compliance with subsections (1) through (3) and (2) for five three years following installation and provide such records to the department within ten three business days if requested.

(6) All EVSE installed at an EV charging station must be inspected and maintained by the operator of the EVSE to ensure compliance with this rule and all maintenance and/or testing intervals required by the manufacturer of the EVSE.

Rulemaking Authority 366.94(2)(b) FS. Law Implemented 366.94 FS. History–New_______.

5J-28.004 Installation and Design.

(1) No change.

(2) EVSE infrastructure that is part of an EV charging station, excluding chargers, shall be considered electrical or utility equipment and may encroach upon required setbacks established by local government entities if necessary to aid the most efficient access to current utilities.

(3) The placement of EVSE associated with an EV charging station must comply with all applicable provisions of state law and may not limit or block access to public utilities.

Rulemaking Authority 366.94(2)(b) FS. Law Implemented 366.94 FS. History–New _________.

5J-28.005 Signage.

In addition to the requirements of Chapter 531, F.S., the rules adopted thereunder, and other applicable portions of state law, each EV charging station or EV charger must display the following minimum signage:

(1) Each EV charger shall have a unique identifier, with respect to the EV charging station, number or letter posted on the front exterior panel of the charger, in full view of the consumer, that identifies the position of the charger and/or charging connector.

(2) Each EV charging station shall have a sign conspicuously posted indicating that EV parking spaces are to be used exclusively by EVs for charging purposes if the parking spaces are specifically designated for the sole purpose of EV charging. The sign shall include the phrase “Electric Vehicle Charging Only” and display the maximum any applicable fines that may be levied by local law enforcement approved pursuant to Chapter 316, F.S., the Florida Uniform Traffic Control Law.

(3) Signage shall be posted or electronically displayed on or next to each charger and must include:

(a) All labeling requirements detailed in NIST Handbook 44, Specifications, Tolerances, and Other Technical Requirements for Weighing and Measuring Devices, and NIST Handbook 130, Uniform Regulation for the Method of Sale of Commodities as adopted in Rules 5J-22.002 and Rule 5J-22.003, F.A.C., Uniform Regulation for the Method of Sale of Commodities;

(b) Charging sSafety information recommended or required by the charger’s manufacturer;

(4) Signage shall be posted or electronically displayed in a conspicuous location that is clearly visible from the public entrance of the EV charging station and includes:

(a)(c) Contact information for the operator that consumers can use to report any issues to the charger operator; and

(b)(d) Contact information for the department complaint hotline which shall read “Report Safety Issues to the Florida Department of Agriculture and Consumer Services at 1-800-HELP-FLA.”

Rulemaking Authority 366.94(2)(b) FS. Law Implemented 366.94 FS. History–New______.

5J-28.006 Registration.

Before a charger is placed into service at an EV charging station for use by the public, the operator must submit FDACS-10994, Electric Vehicle Charging Station Registration, XX/25 XX/24, hereby incorporated by reference, or by using the online registration system on the department’s website at https://www.fdacs.gov. Copies of this form may be obtained from the Department of Agriculture and Consumer Services, Division of Consumer Services, 2005 Apalachee Parkway, Tallahassee, Florida 32399-6500 or accessed online at: http://www.flrules.org/Gateway/reference.asp?No=Ref-XXXXX.

(1) The form must include, at a minimum, the following information:

(a) through (b) No change.

(c) The type of charger (i.e., Level 1, Level 2, Level 3 DCFC, Other);

(d) No change.

(e) Whether the charger is a networked charger, and if so, the names and contact information of the charging network and charging network provider; and

(f) Whether use of the charger is available to the general public or is limited to specific people or entities; and.

(g) Whether a fee for use of the charger is required.

(2) through (3) No change.

(4) This rule does not apply to chargers that are not available for public use, such as chargers that are:

(a) through (b) No change.

(c) Installed at multifamily residential dwellings, if offered as an amenity, for personal use by the occupants.

(5) The operators of EV charging stations that are in operation before this rule becomes effective will have 90 days from this rule’s effective date to comply with this rule.

Rulemaking Authority 366.94(2)(b) FS. Law Implemented 366.94 FS. History–New______.

5J-28.007 Prohibitions.

(1) Methods of sale other than sales based on the cost per unit of energy in kilowatt-hours hour, as required by Rule 5J-22.003, F.A.C., or based on a subscription contract that includes the cost of the energy received, are prohibited.

(2) Fees assessed for other services in direct connection with the fueling of the vehicle, or any similar fee in addition to the fees charged for the units of energy received, excluding idle time fees, are prohibited. All costs to the consumer, including taxes, must be included in the cost per unit of energy or total cost of the subscription-based service.

(3) Parking fees for the use of public parking spaces in lots or parking structures are not considered services directly connected with the fueling of a vehicle for the purpose of subsection (2).

(4) EV charging stations that are solely used for fleet fueling purposes are exempt from the provisions of this rule.

Rulemaking Authority 366.94(2)(b), 531.41(3) FS. Law Implemented 366.94, 531.45 FS. History–New______.

5J-28.008 Enforcement.

(1) The department may take one or more of the following actions against an operator for any violation of charging station equipment that does not comply with section 366.94, F.S. or this rule chapter, or that the department determines is an immediate threat to the public health, safety, or welfare:

(a) Issuance of a warning letter.

(b)(1) No change.

(2) If the department determines that an electric vehicle charging station or any charging station equipment presents a threat to the public health, safety, or welfare, the department may issue Issuance of an immediate final order prohibiting the use of the charging station or any portion thereof.

Rulemaking Authority 366.94(2)(b) FS. Law Implemented 366.94 FS. History–New______.