- 5J-28.003 Safety.

(1) All EVSE installed at an EV charging station shall comply with the safety standards of the National Fire Protection Association as published in NFPA 70, National Electrical Code, Article 625 as adopted by the Department of Financial Services, Division of State Fire Marshal in Rule 69A-3.012, F.A.C.

(2) All EVSE installed at an EV charging station shall be listed and comply with the safety standards as adopted by the Department of Financial Services, Division of State Fire Marshal in Chapter 69A-60, F.A.C.

(3) All EVSE installed at an EV charging station shall comply with relevant safety provisions of the Florida Building Code as adopted in Rule 61G20-1.001, F.A.C.

(4) All EVSE installed at an EV charging station shall be installed by a certified or registered electrical contractor, in accordance with the EVSE manufacturer’s requirements, the standards of NFPA 70, and the Florida Building Code, as referenced in this rule.

(5) The operator of the EV charging station must retain the installation records demonstrating compliance with subsections (1) through (3) for five years following installation and provide such records to the department within ten business days if requested.

(6) All EVSE installed at an EV charging station must be inspected and maintained by the operator of the EVSE to ensure compliance with this rule and all maintenance and/or testing intervals required by the manufacturer of the EVSE.

Rulemaking Authority 366.94(2)(b) FS. Law Implemented 366.94 FS. History–New 5-1-25.