- 5J-28.004 Installation and Design.

(1) EVSE may be installed as part of an EV charging station in any location upon a commercial property necessary to ease access to current utilities.

(2) EVSE infrastructure that is part of an EV charging station shall be considered electrical or utility equipment and may encroach upon required setbacks established by local government entities if necessary to aid the most efficient access to current utilities.

(3) The placement of EVSE associated with an EV charging station must comply with all applicable provisions of state law and may not limit or block access to public utilities.

Rulemaking Authority 366.94(3)(a), (b) FS. Law Implemented 366.94(3)(b) FS. History–New 5-1-25, Technical Change 7-31-25.