- 25-6.034 Standard of Construction.

(1) The facilities of each utility shall be constructed, installed, maintained and operated in accordance with generally accepted engineering practices to assure, as far as is reasonably possible, continuity of service and uniformity in the quality of service furnished.

(2) For new construction, each utility shall, at a minimum, comply with the National Electrical Safety Code (NESC), incorporated by reference in Rule 25-6.0345, F.A.C.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.04(2)(c), (f), (5), 366.05(1) FS. History–New 7-29-69, Amended 12-20-82, Formerly 25-6.34, Amended 2-1-07, 5-12-25.