Notice of Declaratory Statement

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Florida Building Commission

RULE NO.:	RULE TITLE:

61G20-1.001	Florida Building Code Adopted

NOTICE IS HEREBY GIVEN that the Florida Building Commission has issued an order disposing of the petition for declaratory statement filed by Pulte Group on April 09, 2025. The following is a summary of the agency's disposition of the petition: Petitioner requested an answer to the following question, based upon the project described within its petition: Does the Florida Building Code, Residential Eighth Edition (2023), require a 20-minute fire-rated attic access hatch to access the non-habitable attic space from the garage, as described for the project in question? On June 10, 2025, the Commission provided the following answer: no. Pursuant to Table R302.6 of the Florida Building Code, Residential, 8th Edition (2023), a garage ceiling separation of not less than 1/2-inch gypsum board or equivalent, applied to the garage side, is required from the attic in question. Since the garage ceiling must be a minimum of 1/2-inch gypsum board or equivalent, the attic access hatch, which is a component of the garage ceiling in question, must also be 1/2-inch gypsum board or equivalent.

A copy of the Order Disposing of the Petition for Declaratory Statement may be obtained by contacting: Agency Clerk’s Office, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)921-0342, AGC.Filing@myfloridalicense.com.