- 11D-8.0036 Approval of Dry Gas Standards Source.

(1) The Department shall approve a source of dry gas standards for use by agencies in the State of Florida. The source approved by the Department shall be an entity that manufactures dry gas standards and meets the following requirements:

(a) The source must produce dry gas standards which are traceable to the National Institute of Standards and Technology.

(b) Each dry gas standard lot produced by the source must be certified by the source as to its contents and alcohol vapor concentration.

(c) The source must be capable of producing a minimum of 300 cylinders of dry gas standard during a thirty day period at an alcohol vapor concentration of 0.05 g/210L, 0.08 g/210L, 0.15 g/210L, and 0.30 g/210L.

(d) The source must have performed and documented tests that demonstrate that the source’s dry gas standards are reliable for at least two years from the date of manufacture.

(2) Dry gas standard cylinders produced by the approved source must not be used beyond the expiration date.

Rulemaking Authority 316.1932(1)(a)2., (f)1., 322.63(3)(a), (b), 327.352(1)(b)3. FS. Law Implemented 316.1932(1)(b)2., 316.1934(3), 322.63(3)(b), 327.352(1)(e), 327.354(3) FS. History–New 11-5-02, Amended 12-9-04, 7-17-25.