- 69A-73.002 Energy Storage Systems.

(1) For purposes of this rule chapter, energy storage systems as defined in the National Fire Protection Association (“NFPA”) 855, Standard for the Installation of Stationary Energy Storage Systems, 2023 Edition, incorporated herein by reference, shall comply with all requirements of the NFPA 855, 2023 Edition, and the Florida Fire Prevention Code, except that section 4.8.2.2. is amended to read as follows: “Multiple panels shall be aggregated to an interface, master, or annunciator panel at a location approved by the AHJ.”

(2) The NFPA 855, 2023 Edition, is copyrighted material that cannot be copied, but may be purchased by contacting the NFPA at 1 Batterymarch Park, Quincy, Massachusetts 02169-7471; Phone 1(800)344-3555; Website www.nfpa.org.

(3) The copyrighted material referenced above may be accessed in a read-only, non-printable, non-downloadable format at the Division of State Fire Marshal website at: https://www.myfloridacfo.com/division/sfm/bfp/florida-fire-prevention-code; or may be viewed, during regular business hours, at the offices of:

(a) The Division of State Fire Marshal, 325 John Knox Road, Third Floor, Atrium Building, Tallahassee, Florida 32303; or

(b) The Florida Administrative Code and Register, Florida State Capitol, 400 S. Monroe Street, Room 701, Tallahassee, FL 32399.

Rulemaking Authority 633.206 FS. Law Implemented 633.206 FS. History – New 8-24-25.