Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Division of Hotels and Restaurants

RULE NO.:	RULE TITLE:

61C-5.001	Safety Standards

The Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety hereby gives notice: On August 08, 2025, the Division issued an order. The Final Order was in response to a Petition for a routine permanent Variance from PB Dental and Medical located at 15845 Southern Boulevard Loxahatchee, Fl 33470, filed July 14, 2025, and advertised on July 21, 2025, in Vol. 51, No. 140, of the Florida Administrative Register. No comments were received in response to the petition. The Final Order on the Petition for Variance grants the Petitioner a variance from Rules 2.8.1 and 2.8.2.2, ASME A17.1, 2016 Edition, as adopted by Rule 61C-5.001 Florida Administrative Code that requires no foreign equipment to be placed in an elevator hoistway, because the Petitioner has demonstrated that the purpose of the underlying statute has been met and that Petitioner would suffer a substantial hardship if required to comply with this rule (VW2025-080).

A copy of the Order or additional information may be obtained by contacting: Division of Hotels and Restaurants, Bureau of Elevator Safety, 2601 Blair Stone Road, Tallahassee, Florida 32399-1013. dhr.elevators@myfloridalicense.com.