Notice of Declaratory Statement

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Florida Building Commission

RULE NO.:	RULE TITLE:

61G20-1.001	Florida Building Code Adopted

NOTICE IS HEREBY GIVEN that the Florida Building Commission has received the petition for declaratory statement from Forum Architecture & Interior Design. The petition seeks the agency's opinion as to the applicability of section 1030.1, Florida Building Code, Building, 8th Edition (2023), as it applies to the petitioner.

Petitioner is an architecture firm in the process of designing a four-story, wood-framed apartment building of R-2 occupancy classification. Petitioner states that the building will be equipped throughout with an NFPA 13R fire sprinkler system and will include internal breezeways as common circulation areas. Each story will be provided with two fire-rated exit stair enclosures, and each individual dwelling unit will be designed with two distinct means of egress originating from the unit entry door. Petitioner seeks clarification about whether the Florida Building Code requires emergency escape and rescue openings within dwelling units or sleeping rooms in the proposed apartment building.

A copy of the Petition for Declaratory Statement may be obtained by contacting: the Agency Clerk’s Office, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)921-0342, AGC.Filing@myfloridalicense.com.

Please refer all comments to: Mo Madani, Building Codes and Standards Office, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)487-1824, mo.madani@myfloridalicense.com or W. Justin Vogel, Office of the General Counsel, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)717-1795, wjustin.vogel@myfloridalicense.com.

RESPONSES, MOTIONS TO INTERVENE, OR REQUESTS FOR A HEARING MUST BE FILED WITHIN 21 DAYS OF THIS NOTICE.