Notice of Declaratory Statement

DEPARTMENT OF FINANCIAL SERVICES
Division of State Fire Marshal
NOTICE IS HEREBY GIVEN that the Department of Financial Services, Division of State Fire Marshal (Department) has received the petition for declaratory statement from Jack Stevenson, Fire Marshal Venice Fire Rescue, on September 15, 2025. The petition seeks the agency's opinion as to the applicability of NFPA 409 Section 8.2 and Table 8.2.1 as it applies to the petitioner.

The applicant Agape Flights Inc. currently operates flight operations out of a NFPA 409 Group III hanger built in the early 1980s. The existing hanger is of non-fire rated construction. The applicant has proposed the construction of a new Group III hanger on adjoining vacant land that is 25 feet less than the minimum separation distance required by NFPA 409 Section 8.2 and Table 8.2.1 from the existing non-fire rated hanger. The wall and hanger door of the new hanger that faces the existing hanger to have a 2-hour fire rating (plan sheets enclosed in petition). Do the applicants alternate design meet the minimum requirements of the Florida Fire Prevention Code?

A copy of the Petition for Declaratory Statement may be obtained by contacting: Sarah Marcos, Sarah.Marcos@myfloridacfo.com
