Notice of Proposed Rule

AGENCY FOR HEALTH CARE ADMINISTRATION

Health Facility and Agency Licensing

RULE NOS.:	RULE TITLES:

59A-4.126	Disaster Preparedness

59A-4.1265	Emergency Environmental Control for Nursing Homes

PURPOSE AND EFFECT: Rule 59A-4.126 and 59A-4.1265 outline nursing home requirements to have a written plan for procedures in the event of disasters.

SUMMARY: The Agency proposes to revise rules 59A-4.126 and 59A-4.1265 to align language with statute 408.821 regarding submission and approval of comprehensive emergency management plans (CEMP), remove obsolete language and update incorporated CEMP form for nursing home facilities.

SUMMARY OF STATEMENT OF ESTIMATED REGULATORY COSTS AND LEGISLATIVE RATIFICATION:

The Agency has determined that this will not have an adverse impact on small business or likely increase directly or indirectly regulatory costs in excess of $200,000 in the aggregate within one year after the implementation of the rule. A SERC has not been prepared by the Agency.

The Agency has determined that the proposed rule is not expected to require legislative ratification based on the statement of estimated regulatory costs or if no SERC is required, the information expressly relied upon and described herein: A SERC has not been prepared by the agency. For rules listed where no SERC was prepared, the Agency prepared a checklist for each rule to determine the necessity for a SERC. Based on this information at the time of the analysis and pursuant to section 120.541, Florida Statutes, the rule will not require legislative ratification. Any person who wishes to provide information regarding a statement of estimated regulatory costs, or provide a proposal for a lower cost regulatory alternative must do so in writing within 21 days of this notice.

Any person who wishes to provide information regarding a statement of estimated regulatory costs, or provide a proposal for a lower cost regulatory alternative must do so in writing within 21 days of this notice.

RULEMAKING AUTHORITY: 400.23, 408.821, F.S.

LAW IMPLEMENTED: 400.23, 408.821, F.S.

IF REQUESTED WITHIN 21 DAYS OF THE DATE OF THIS NOTICE, A HEARING WILL BE HELD AT THE DATE,TIME AND PLACE SHOWN BELOW(IF NOT REQUESTED, THIS HEARING WILL NOT BE HELD):

DATE AND TIME: November 10, 2025, 2:00 p.m. - 3:00 p.m.

PLACE: Agency for Health Care Administration, 2727 Mahan Drive, Tallahassee, Florida, 32308, Building 3, Conference Room A. You may also participate by dialing the Open Voice conference line, 1(888)585-9008, then enter the conference room number followed by the pound sign, 998-518-088#. The agenda and related materials can be found on the web at: https://ahca.myflorida.com/health-quality-assurance/bureau-of-health-facility-regulation/rulemaking .

Pursuant to the provisions of the Americans with Disabilities Act, any person requiring special accommodations to participate in this workshop/meeting is asked to advise the agency at least 3 days before the workshop/meeting by contacting: hqarulecomments@ahca.myflorida.com. If you are hearing or speech impaired, please contact the agency using the Florida Relay Service, 1(800)955-8771 (TDD) or 1(800)955-8770 (Voice).

THE PERSON TO BE CONTACTED REGARDING THE PROPOSED RULE IS: Kelli Fillyaw at (850)412-4402 or email at: hqarulecomments@ahca.myflorida.com.

THE FULL TEXT OF THE PROPOSED RULE IS:

59A-4.126 Disaster Preparedness.

(1) No Change.

(2) The plan must include the following:

(a) No Change.

(b) Emergency Management Planning Criteria for Nursing Home Facilities, AHCA Form 3110-6006, April 2025 March, 1994, which is incorporated herein by reference and available at http://flrules.org/Gateway/reference.asp?No=Ref-18495 http://www.flrules.org/Gateway/reference.asp?No=Ref-06022 and from the Agency for Health Care Administration, 2727 Mahan Drive, Mail Stop #24, Tallahassee, Florida 32308 or on the website at https://ahca.myflorida.com/health-quality-assurance/emergency-preparedness-resources htttp://ahca.myflorida.com/MCHQ/Plans/index.shtml#forms.

(3) The facility must review and submit its emergency management plan on an annual basis and in accordance with section 408.821(1), F.S. The plan, including the “Emergency Management Planning Criteria for Nursing Homes,” must be submitted annually, at the time of a change of ownership of the facility and after modification to previously approved plan. This plan must be submitted to the county emergency management agency for review and approval.

(4) A significant modification to a previously approved plan must be submitted within 30 days after the change. For the purposes of this rule, “significant modification” means a change to the information provided in support of the minimum required plan criteria, procedures, memorandums of understanding, contracts, or agreements identified in the plan, or appendices that alters the execution of the plan and the required arrangements made therein. Changes in spelling or grammar are not considered significant modifications for the purposes of this rule.

(a) Changes in the name, address, phone number, email address or position of staff identified in the plan are not considered significant modifications for the purposes of this rule. Changes to that information must be submitted to the county emergency management agency as part of the emergency management plan submitted annually.

(b) If a change to the emergency management plan is required to be submitted due to a significant modification, the change must be identified and described.

(c) A change to the emergency management plan due to a significant modification does not alter the annual review date unless the change is due to a change of ownership of the facility.

(4) through (7) renumbered (5) through (8) No Change.

(9)(8) If residents must be evacuated from the premises due to emergency conditions or a disaster, then the licensee must report the location and number of residents evacuated to the Agency’s Long Term Care Unit in Tallahassee by phone (850)412-4303, by fax at (850)410-1512 or through an online database approved by the Agency to report information regarding the provider’s emergency status, planning or operations within 24 hours after the evacuation is complete. If the Long-Term Care Unit or the online database is unavailable to receive such information, then the licensee must contact the appropriate Agency field office or designated Agency mutual aid office. The administrator or designee is responsible for knowing the location of each resident until the resident has been discharged from the facility. The licensee must inform the appropriate Agency field office of a contact person(s) who will be available 24 hours a day, seven days a week, until the facility is reoccupied.

(9) through (10) renumbered (10) through (11) No Change.

(12)(11) If residents are evacuated from a nursing home during or after an emergency situation or disaster and there is no damage to the facility and all utilities and services are operating within normal parameters, the facility may be reoccupied and notice provided to the Agency within 24 hours of return to the facility. This notification may be through an online database approved by the Agency sent to the agency by telephone or fax, or by electronic transmission if receipt is confirmed. However, if there has been water intrusion, interior damage, structural damage or if the facility is unable to operate under normal electrical power then a determination of whether or not the facility can be reoccupied must be made by the Agency. A determination may also require the review and approval from the local authority having jurisdiction. In those cases, the facility may not be occupied until all approvals are obtained.

(13)(12) No Change.

Rulemaking Authority 400.23, 408.821, FS. Law Implemented 400.23, 408.821, FS. History–New 4-1-82, Amended 4-1-84, Formerly 10D-29.126, Amended 8-15-94, 12-21-15,   .

59A-4.1265 Emergency Environmental Control for Nursing Homes.

(1) DETAILED NURSING HOME EMERGENCY POWER PLAN. Each nursing home shall prepare a detailed plan (“plan”), to serve as a supplement to its Comprehensive Emergency Management Plan, to address emergency power in the event of the loss of primary electrical power in that nursing home, which includes the following information:

(a) The acquisition of a sufficient alternate power source such as a generator(s), maintained at the nursing home, to ensure that current licensees of nursing homes will be equipped to ensure the protection of resident health, safety, welfare, and comfort for a minimum of ninety-six (96) hours in the event of the loss of primary electrical power. Safe indoor air temperatures in resident occupied areas shall be determined by the licensee to meet the clinical needs of residents, but shall not exceed eighty-one (81) degrees Fahrenheit.

1. Nursing Homes must comply with emergency power requirements outlined in Title 42 C.F.R. Chapter IV, Subchapter G, Part 483.90.

1. through 3. renumbered 2. through 4. No Change.

(b) The acquisition of sufficient fuel, and safe maintenance of that fuel onsite at the facility, to ensure that in the event of the loss of primary electrical power there is sufficient fuel available for the alternate power source required in paragraph (1)(a), to power life safety systems, critical systems, and equipment necessary to maintain safe indoor air temperatures as described in this rule for ninety-six (96) hours after the loss of electrical power during a declared state of emergency. The plan shall include information regarding fuel source and fuel storage.

1. through 3. No Change.

4. If county local ordinances or other regulations that limit the amount of onsite fuel storage for the nursing home’s location and the nursing home does not have access to piped natural gas, then the nursing home must develop a plan that includes maximum onsite fuel storage allowable by the ordinance or regulation and a reliable method to obtain the maximum additional fuel at least 24 hours prior to depletion of onsite fuel.

(c) No Change.

(2) SUBMISSION OF THE PLAN.

(a) Each nursing home licensed prior to the effective date of this rule shall submit its plan to the local emergency management agency for review and approval within thirty (30) days of the effective date of the rule. Nursing Home plans previously received and approved under Emergency Rule 59AER17-1, F.A.C., will require resubmission only if changes are made.

(a) (b) Each new nursing home shall submit the plan required under this rule within 30 days after initial licensure or change of ownership prior to obtaining a license.

(b) (c) Each existing nursing home that undergoes additions, modifications, alterations, refurbishment, reconstruction or renovations that require modification of the systems or equipment affecting the nursing home’s compliance with this rule shall amend its plan and submit it to the county local emergency management agency within 30 days after any significant modification for review and approval.

(3) PLAN REVIEW. Architectural and engineering plans are subject to review by the Agency’s Office of Plans and Construction. The county local emergency management agency shall review the emergency power plan for compliance with the subsection and may rely on the technical review of the Office of Plans and Construction. Once the review is complete, the county local emergency management agency shall:

(a) through (b) No Change.

(4) APPROVED PLANS.

(a) No Change.

(b) Within 30 two (2) business days of the approval of the plan from the county local emergency management agency, the nursing home shall submit in writing proof of the approval to the Agency for Health Care Administration to ltcstaff@ahca.myflorida.com.

(c) The nursing home shall submit a consumer friendly summary of the emergency power plan to the Agency. The Agency shall post the summary and notice of the approval and implementation of the nursing home emergency power plans on its website within ten (10) business days of the plan’s approval by the county local emergency management agency and update within ten (10) business days of implementation.

(5) IMPLEMENTATION OF THE PLAN.

(a) Each nursing home licensed prior to the effective date of this rule shall, no later than June 1, 2018 have implemented the plan required under this rule.

(b) The Agency shall grant an extension up to January 1, 2019 to providers in compliance with paragraph (c), below, and who can show delays caused by necessary construction, delivery of ordered equipment, zoning or other regulatory approval processes. Nursing homes granted an extension must keep the Agency apprised of progress on a monthly basis to ensure there are no unnecessary delays.

(c) During the extension period, a nursing home must make arrangements pending full implementation of its plan that the residents are housed in an area that meets the safe indoor air temperature requirements of paragraph (1)(a), for a minimum of ninety-six (96) hours.

1. A nursing home not located in an evacuation zone must either have an alternative power source onsite or have a contract in place for delivery of an alternative power source and fuel when requested. Within twenty-four (24) hours of the issuance of a state of emergency for an event that may impact primary power delivery for the area of the nursing home, it must have the alternative power source and no less than ninety-six (96) hours of fuel stored onsite.

2. A nursing home located in an evacuation zone pursuant to Chapter 252, F.S., must either:

a. Fully and safely evacuate its residents prior to the arrival of the event, or

b. Have an alternative power source and no less than ninety-six (96) hours of fuel stored onsite, within twenty-four (24) hours of the issuance of a state of emergency for the area of the nursing home,

(d) Each new nursing home shall implement the plan prior to obtaining a license.

(e) Each nursing home that undergoes any additions, modifications, alterations, refurbishment, reconstruction or renovations that require modification of the systems or equipment affecting the nursing home’s compliance with this rule shall implement its amended plan subsequent with the completion of construction.

(f) The Agency may request cooperation from the State Fire Marshal to conduct inspections to ensure implementation of the plan in compliance with this rule.

(6) through (9) renumbered (5) through (8) No Change.

Rulemaking Authority 400.23, FS. Law Implemented 400.23, FS. History–New 3-26-18, Amended__________.

NAME OF PERSON ORIGINATING PROPOSED RULE: Kelli Fillyaw

NAME OF AGENCY HEAD WHO APPROVED THE PROPOSED RULE: Shevaun L. Harris

DATE PROPOSED RULE APPROVED BY AGENCY HEAD: October 02, 2025

DATE NOTICE OF PROPOSED RULE DEVELOPMENT PUBLISHED IN FAR: June 9, 2025