Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION
Division of Hotels and Restaurants
RULE NO.:
RULE TITLE:

61C-5.001
Safety Standards

The Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety hereby gives notice: On October 30, 2025, the Division issued an order. The Final Order was in response to a Petition for an emergency permanent Variance from Boynton Property Holdings, LLC located at 1601 N Congress Ave, Boynton Beach, Fl 33426 filed October 10, 2025, amended on October 21, 2025, and advertised on October 15, 2025, in Vol. 51, No. 201, of the Florida Administrative Register. No comments were received in response to the petition. The Final Order on the Petition for Variance grants the Petitioner a variance from Rule 2.7.4.1, ASME A17.1, 2019 Edition, as adopted by Rule 61C-5.001 Florida Administrative Code that requires Elevator machine rooms, control rooms, and machinery spaces have at least 2,130 mm (84 inches) of clear headroom., because the Petitioner has demonstrated that the purpose of the underlying statute has been met and that Petitioner would suffer a substantial hardship if required to comply with this rule (VW2025-115).

A copy of the Order or additional information may be obtained by contacting: Division of Hotels and Restaurants, Bureau of Elevator Safety, 2601 Blair Stone Road, Tallahassee, Florida 32399-1013. dhr.elevators@myfloridalicense.com.

